| Title | Demonstrate knowledge of electric machine winding |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for people intending to qualify in the electrical industry in motor rewinding and repair. It provides the underpinning knowledge for those people who have responsibility for the refurbishment of electric machines. This includes dismantling, stripping, rewinding, assembling and testing electric machines. People credited with this unit standard are able to: – identify machine design features; – read and interpret electrical diagrams to describe machine windings; – interpret machine manufacturer’s technical information; – describe coil winding and testing methods; and – demonstrate knowledge of insulation used in electric machines. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Machines |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance information

1	This unit standard has been developed for learning and assessment on-job.

2	Definitions

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Machines – electric motors, generators, regulators, transformers, and other similar equipment having windings.

Outcomes and performance criteria

Outcome 1

Identify machine design features.

Performance criteria

1.1	Identify design features of machines in accordance with industry practice.

Range	design features – generator, motor, and transformer; alternating current (a.c.) or direct current (d.c.), single-phase and three-phase; cage rotor, wound rotor and slip-rings, armature and commutator; salient poles, main poles, other poles; number of poles.

Outcome 2

Read and interpret electrical diagrams to describe machine windings.

Performance criteria

2.1	Describe winding characteristics for rotor and stator.

Range	concentric, lap and wave windings.

2.2	Describe coil connections for each type of winding.

Range	series, parallel.

2.3	Describe coils per slot, coils per group, and groups per pole.

2.4	Describe winding connection methods.

Range	star and delta; series, shunt, and compound; separate, dual, tapped windings; progressive and regressive armature connections.

Outcome 3

Interpret machine manufacturers’ technical information.

Performance criteria

3.1	Interpret data from manufacturer's technical information sheets.

3.2	Explain rating plate data including the insulation class.

3.3	Present and explain examples of typical machine data for a.c. and d.c. motors and generators.

Range	coils per slot, number of turns per coil, direction of turns; size of conductor; coil shape and dimensions; insulation types, thickness and layers, coil pitch, commutator pitch.

Outcome 4

Describe coil winding and testing methods.

Performance criteria

4.1	Describe winding equipment in accordance with electrical diagrams.

Range	construction, set-up procedures, operation, and maintenance.

4.2	Describe coil winding methods in terms of machine types, equipment used, advantages, and disadvantages.

4.3	Describe winding and connection tests.

Range	tests – open circuits, short-circuited turns, abnormal resistance, inductance, impedance.

Outcome 5

Demonstrate knowledge of insulation used in electric machines.

Performance criteria

5.1	Describe machine insulation materials in terms of machine type and application.

Range	insulation materials – varnishes, mica and its derivatives, fibre, tape, insulation cloths, slot liners;

properties – physical strengthening and filling abilities, dielectric strength, rigidity, imperviousness to moisture, dust, dirt, oil, corrosive substances.

5.2	Describe machine insulation selection, installation, and application methods.

Range	brushing, spraying, dipping, vacuum pressure impregnation, baking.

| Replacement information | This unit standard and unit standard 19470 replaced unit standard 1198. |
| --- | --- |

| Planned review date | 31 December 2023 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 August 2002 | 31 December 2013 |
| Revision | 2 | 19 April 2005 | 31 December 2013 |
| Review | 3 | 22 August 2008 | 31 December 2023 |
| Rollover and Revision | 4 | 15 March 2012 | 31 December 2023 |
| Revision | 5 | 15 January 2014 | 31 December 2023 |
| Review | 6 | 22 August 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.