| Title | Operate and maintain basic equipment in a civil engineering laboratory |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 10 |

| Purpose | People credited with this unit standard are able to operate and maintain basic equipment in a civil engineering laboratory. |
| --- | --- |

| Classification | Infrastructure Civil Engineering > Infrastructure Laboratory |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

- Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable organisational and legislative requirements.

- Applicable legislation, regulations, rules, standards and codes include but are not limited to the: Health and Safety at Work Act 2015; Hazardous Substances and New Organisms Act 1996 and their associated regulations and subsequent amendments;

ISO/IEC 17025:2018 General requirements for the competence of testing and calibration laboratories, available from https://www.iso.org/store.html;

NZS 4402.1:1986 Methods of testing soils for civil engineering purposes - Preliminary and general, available from https://www.standards.govt.nz/;

AS TG1 Simple Linear Measurement Instruments;

AS TG2 Laboratory Balances – Calibration Requirements;

AS TG3 Working Thermometers – Calibration Requirements; available from http://www.ianz.govt.nz/.

3	Definitions

Organisational requirements refer to instructions to staff on policy and procedures which are formally documented or generally accepted at the worksite.  This may include legislation; industry standards and methods; national and international standards and methods; standard operating procedures; specifications; manuals; and manufacturer’s information.

Samples may include but are not limited to – prepared materials and test materials such as standards and reagents.

4	Examples of equipment

Mass: ultra-micro, micro, analytical, precision;

Temperature: thermocouples, infrared, thermistor, liquid capillary;

Length: callipers, micrometers, rulers, tape measures, dial gauges, linear variable displacement transducers (LVDT);

Volume: volumetric container, pressure burette, volume change indicator;

Temperature-controlled cabinet: oven, freezer, incubator, bath.

Outcomes and performance criteria

Outcome 1

Operate and maintain basic equipment in a civil engineering laboratory.

Range	equipment to measure mass, volume, temperature, length;

temperature-controlled cabinet;

evidence is required for two types of equipment from each category.

Performance criteria

1.1	Equipment is selected in accordance with sample requirements and method.

- Range	selection criteria include but are not limited to – capacity or range, precision, units, type.

1.2	Equipment is checked before use.

- Range	may include but is not limited to – environmental conditions, safety equipment, calibration status, electrical certification.

1.3	Sample requirements are assessed.

- Range	includes but is not limited to – environmental conditions, placement.

1.4	Equipment is used.

1.5	Results are recorded.

1.6	Equipment is cleaned and maintained.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 January 2011 | 31 December 2021 |
| Review | 2 | 23 January 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0101 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.