| Title | Demonstrate knowledge of, and monitor and maintain, reticulated water systems for a seafood live holding facility |
| --- | --- |
| Level | 3 | Credits | 20 |

| Purpose | This unit standard is for people working in a seafood operation. People credited with this unit standard are able to: demonstrate knowledge of reticulated water systems for a seafood live holding facility; monitor the reticulated water system in a seafood live holding facility; and maintain the reticulated water system in a seafood live holding facility. |
| --- | --- |

| Classification | Seafood > Aquaculture |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	All evidence presented in this unit standard must be in accordance with:

- Workplace procedures;

- Animal Products Act 1999;

- Food Act 2014;

- Health and Safety at Work Act 2015;

and any subsequent amendments.

2	Definitions

Seafood includes any species of – fish, echinoderm, crustacean, or shellfish.

Workplace procedures refer to the policies and procedures set out in a verbal or written form by the employer or organisation.  Procedures must reflect current legislative requirements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of reticulated water systems for a seafood live holding facility.

Performance criteria

1.1	Describe the sequence of events in the operation of the reticulated water system.

Range	flow through, partially recirculated, fully recirculated.

1.2	Describe the function and operating principles of the equipment used in a reticulated water system.

Range	may include but is not limited to – pumps, filters, protein skimmers, ultraviolet units, ozone systems, heat exchangers, blowers, biofilters;

evidence of five is required.

1.3	Describe the ways that the reticulation water system is monitored to control water quality.

Range	dissolved oxygen, temperature, pH;

at least two of – carbon dioxide, ammonia, nitrate, nitrite, total dissolved gases, turbidity, salinity.

1.4	Describe the safety procedures to be used during monitoring and maintenance of a reticulated water system.

Range	may include but is not limited to – footwear, clothing, hair restraints and electrical isolation procedures;

evidence of three is required.

Outcome 2

Monitor the reticulated water system in a seafood live holding facility.

Range	one of – flow through, partially recirculated, fully recirculated.

Performance criteria

2.1	Confirm the pumps are in a safe working order during operation.

2.2	Monitor the water flow and adjust as required to meet the needs of the stock being held.

Range	monitoring may include but is not limited to – flow meters, bucket test, dissolved oxygen test.

2.3	Monitor the aeration of the circulating water.

2.4	Monitor the filters and replace as necessary or arrange for replacement.

2.5	Monitor the water quality and report results.

Range	may include but is not limited to – oxygen, temperature, pH, carbon dioxide, ammonia, nitrate, nitrite, total dissolved gases, turbidity, salinity;

evidence of three is required.

Outcome 3

Maintain the reticulated water system in a seafood live holding facility.

Performance criteria

3.1	Maintain reticulated water system equipment.

Range	may include but is not limited to – pumps, filters, protein skimmers, ultraviolet units, ozone systems, heat exchangers, blowers, biofilters; evidence of five is required.

3.2	Carry out minor repairs to the reticulated water system.

Range	may include but is not limited to – replacing pump valves, cutting and replacing pipes, pigging lines, solvent jointing;

evidence of three is required.

| Planned review date | 31 December 2028 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 January 2000 | 31 December 2019 |
| Review | 2 | 25 February 2008 | 31 December 2019 |
| Review | 3 | 12 December 2008 | 31 December 2019 |
| Review | 4 | 1 November 2018 | N/A |
| Rollover | 5 | 29 February 2024 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0123 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Muka Tangata - People, Food and Fibre Workforce Development Council qualifications@mukatangata.nz  if you wish to suggest changes to the content of this unit standard.