| Title | Demonstrate knowledge of organisations and documentation that impact on the fire protection industry |
| --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | This unit standard is for personnel employed in the fire protection industry, and covers the knowledge of organisations and documentation that impact on the industry. People credited with this unit standard are able to demonstrate knowledge of organisations and documentation that impact on the fire protection industry. |
| --- | --- |

| Classification | Mechanical Engineering > Fire Protection Systems Technology |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Explanatory notes

1	References

Building Act 2004

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM).  Available at http://www.dbh.govt.nz/AS/VM-documents

New Zealand Building Code including the compliance schedule

AS 1851:2012, Routine service of fire protection systems and equipment

AS 4214:2006, Gaseous fire extinguishing systems

AS 4587:2003, Water mist fire protection systems

NFPA 12:2011, Carbon dioxide extinguishing systems – system design, installation and commissioning

NFPA 15:2012, Water spray fixed systems for fire protection

NFPA 16:2011, Installation of foam-water sprinkler and foam-water spray systems

NFPA 17:2013, Dry chemical extinguishing systems

NFPA 17A:2013, Wet chemical extinguishing systems

NFPA 750:2010, Water mist fire protection systems

NFPA 2001:2012, Clean agent fire extinguishing systems

SNZ PAS 4509:2008, New Zealand Fire Service firefighting water supplies code of practice

NZS 4503:2005, Hand operated fire-fighting equipment

NZS 4510:2008, Fire hydrant systems for buildings

NZS 4512:2010, Fire detection and alarm systems in buildings

NZS 4515:2009, Fire sprinkler systems for residential occupancies

NZS 4517:2010, Fire sprinkler systems for houses

NZS 4541:2013, Automatic fire sprinkler systems

AS1530.4:2005, Fire resistance tests of elements of construction

AS 4072.1:2005, Components for the protection of openings in fire-resistant separating elements - Service penetrations and control joints.

2	Definition

Standards refer to the standards listed in the references above.

3	Range

It is recommended that candidates provide evidence of organisations and documentation that impact on their own field of work.

Outcomes and evidence requirements

Outcome 1

Demonstrate knowledge of organisations that impact on the fire protection industry.

Range	may include but is not limited to – Standards New Zealand, Standards Australia, Ministry of Business, Innovation and Employment (MBIE), Fire Safety Systems Inspection and Certification Bodies, New Zealand Fire Service, Electrical Workers Registration Board (EWRB), Territorial Authorities, Fire Protection Association of New Zealand (FPANZ), National Fire Protection Association (NFPA), Institute of Fire Engineers (IFE), Society of Fire Protection Engineers (SFPE), Institute of Professional Engineers New Zealand (IPENZ), F. M. Global, Association of Building Compliance.

Evidence of six is required.

Evidence requirements

1.1	Organisations that impact on the industry are identified.

1.2	The activities of the named organisations are described with reference to their functions in the industry.

1.3	The accountability and responsibility of each organisation and the industry under the relevant legislation and standards are described.

Outcome 2

Demonstrate knowledge of documentation that impacts on the fire protection industry.

Range	documentation as per references in explanatory note 1.

Evidence of five documents is required.

Evidence requirements

2.1	Documentation that has a direct impact on the industry is identified by title.

2.2	The scope of each document, and the manner in which it impacts on the industry, are described.

2.3	The meaning of given terminology from glossaries in the documentation is obtained.

Range	evidence of five terms is required.

2.4	The inspection and certification requirements for fire detection and alarms systems and fixed fire protection systems are outlined.

| Planned review date | 31 December 2020 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 December 2000 | 31 December 2017 |
| Review | 2 | 26 March 2007 | 31 December 2017 |
| Revision | 3 | 23 April 2008 | 31 December 2017 |
| Review | 4 | 15 October 2015 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Please note

Providers must be granted consent to assess against standards (accredited) by NZQA, before they can report credits from assessment against unit standards or deliver courses of study leading to that assessment.

Industry Training Organisations must be granted consent to assess against standards by NZQA before they can register credits from assessment against unit standards.

Providers and Industry Training Organisations, which have been granted consent and which are assessing against unit standards must engage with the moderation system that applies to those standards.

Requirements for consent to assess and an outline of the moderation system that applies to this standard are outlined in the Consent and Moderation Requirements (CMRs).  The CMR also includes useful information about special requirements for organisations wishing to develop education and training programmes, such as minimum qualifications for tutors and assessors, and special resource requirements.

Comments on this unit standard

Please contact Competenz at qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.