| Title | Conduct routine inspections of fire sprinkler systems |
| --- | --- |
| Level | 4 | Credits | 20 |

| Purpose | This unit standard is for personnel employed in the fire protection industry and covers the routine inspections of fire sprinkler systems. People credited with this unit standard are, for fire sprinkler systems, able to: prepare for routine inspections; conduct routine inspections, and thereafter reinstate the systems to operational status; and complete documentation for reporting after routine inspections. |
| --- | --- |

| Classification | Mechanical Engineering > Fixed Fire Protection Systems |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Entry information |
| --- |
| Recommended skills and knowledge | Unit 17730, Demonstrate knowledge of routine testing and maintenance of fire sprinkler systems, or demonstrate equivalent knowledge and skills. |

Explanatory notes

1	References

Building Act 2004

Ministry of Business, Innovation and Employment (MBIE) Acceptable Solutions (AS) and Verification Methods (VM).  Available at http://www.dbh.govt.nz/AS/VM-documents

New Zealand Building Code

NZS 4541:2013, Automatic fire sprinkler systems.

2	Definitions

Enterprise procedures refer to the documented procedures used by the organisation carrying out the work and applicable to the tasks being carried out.  They may include but are not limited to – standard operating procedures, site safety procedures, equipment operating procedures, codes of practice, quality assurance procedures, housekeeping standards, charging of time and materials, management of drawings and documentation, procedures to comply with legislative and local body requirements.

Inspection refers to an organised examination of characteristics of fire protection systems against established standards.

Plan in this unit standard means the procedures developed to enable the work to be carried out in a logical and safe manner.

Systems documentation refers to the documentation required to be maintained by NZS 4541:2013, including: log book, test reports, equipment details and drawings, specifications, contract agreement, additions and alterations, fire reports, building consents standards, codes of practice, installation instructions, test and commissioning procedures, and test and maintenance records.

3	Range

a	All activities must comply with relevant legislative and/or regulatory requirements and recognised codes of practice.

b	All activities must demonstrate safe working practices.

c	All activities must be completed and reported within agreed timeframes.

4 	Assessment

For assessment purposes, competence must be demonstrated on at least three systems.

Outcomes and evidence requirements

Outcome 1

Prepare for routine inspections of fire sprinkler systems.

Evidence requirements

1.1	Routine inspection procedures for the systems are identified in accordance with systems documentation and enterprise procedures.

1.2	Safety requirements for the systems to be routinely inspected are identified and referenced to systems documentation in accordance with enterprise procedures.

1.3	Plans for routine inspections of the systems are prepared in accordance with systems documentation and enterprise procedures.

Outcome 2

Conduct routine inspections of fire sprinkler systems, and thereafter reinstate the systems to operational status.

Evidence requirements

2.1	Routine inspections are conducted in accordance with plans and NZS 4541:2013.

2.2	Safety requirements are complied with during routine inspections in accordance with systems documentation and enterprise procedures.

2.3	Systems are restored to normal operating condition in accordance with systems documentation, plans, and enterprise procedures.

2.4	Premises are cleared of all surplus introduced materials and equipment and left in a clean and tidy condition in accordance with enterprise procedures.

Outcome 3

Complete documentation for reporting after routine inspections of fire sprinkler systems.

Evidence requirements

3.1	Documentation for routine inspections is completed and distributed in accordance with plans, enterprise procedures, and sections 1201 and 1203 of NZS 4541:2013.

3.2	Reports that form part of the documentation list all matters that require remedial action in accordance with NZS 4541:2013.

3.3	Personnel at site are notified of completion of work in accordance with enterprise procedures.

| Planned review date | 31 December 2020 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 31 December 2000 | 31 December 2017 |
| Review | 2 | 26 March 2007 | 31 December 2017 |
| Revision | 3 | 23 April 2008 | 31 December 2017 |
| Review | 4 | 15 October 2015 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Please note

Providers must be granted consent to assess against standards (accredited) by NZQA, before they can report credits from assessment against unit standards or deliver courses of study leading to that assessment.

Industry Training Organisations must be granted consent to assess against standards by NZQA before they can register credits from assessment against unit standards.

Providers and Industry Training Organisations, which have been granted consent and which are assessing against unit standards must engage with the moderation system that applies to those standards.

Requirements for consent to assess and an outline of the moderation system that applies to this standard are outlined in the Consent and Moderation Requirements (CMRs).  The CMR also includes useful information about special requirements for organisations wishing to develop education and training programmes, such as minimum qualifications for tutors and assessors, and special resource requirements.

Comments on this unit standard

Please contact Competenz at qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.