| Title | Carry out condition assessments of electricity supply line hardware and conductors |
| --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | People credited with this unit standard are able to: demonstrate knowledge of line hardware and conductors; and carry out a condition assessment of electricity supply line hardware and conductors. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Transmission Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; and any subsequent amendments and replacements; Electricity Act 1992; Electricity (Safety) Regulations 2010; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of line hardware and conductors.

Performance criteria

1.1	Conductor types are identified and described.

Range	includes but is not limited to – Aluminium conductor steel reinforced galvanised core (ACSR/GZ), Aluminium conductor steel reinforced greased core (ACSR/AC), Copper (CU), galvanised extra high strength steel (GEHSS), optical fibre ground wire (OFGW).

1.2	Conductor configurations are identified and described.

Range	includes but is not limited to – strain, suspension, simplex, duplex, quad, earth wire.

1.3	Attachment point types are identified and described.

Range	includes but is not limited to – strain plate, swivel, hanger bracket, twisted barrel tongue, eye-bolt, U-bolt, working point.

1.4	Insulator assembly drawings are interpreted and matched with physical components.

1.5	Insulators and insulator hardware are identified.

Range	includes but is not limited to – cap and pin, composite, glass disc, porcelain disc.

1.6	Cap and pin insulator defects are described.

Range	includes but is not limited to – corrosion of metal caps and pins, damage to security pins, deterioration of the cement, glass cap and pin insulator defects, porcelain cap and pin insulator defects, pollution defects, flashover mark defects.

1.7	Conductor fittings are described.

Range	includes but is not limited to – joints, vibration dampers, conductor weights, insulator weights, repair sleeves, spacers, pre-formed armour rods, pre-formed dead ends, pressed dead ends, patch rods jumpers, twisted armour rods.

1.8	Conductor deterioration processes are described.

Range	includes but is not limited to – vibration, broken strands, corrosion, pollution, loss of grease, uneven sags, differential tensions.

1.9	Composite insulator defects are described.

Range	includes but is not limited to – corrosion of metal parts, hydrophobicity, deterioration of rubberised material.

1.10	Insulator hardware defects are described.

Range	includes but is not limited to – corrosion of metal parts, wear of attachment points.

Outcome 2

Carry out a condition assessment of electricity supply line hardware and conductors.

Range	evidence of three assessments is required.

Performance criteria

2.1	Procedures, equipment, access, and components are prepared for a line patrol.

Range	includes – site information, landowners, measuring equipment, check sheets, specialist staff for live line and excavation.

2.2	Hardware and conductors are inspected, and defects identified.

Range	includes – attachment points, insulators, earth wire, hazard identification.

2.3	Results of condition assessment are reported using the coding system.

Range	includes – size, location, and impact of defects, defective line hardware and conductors.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 April 2004 | 31 December 2022 |
| Rollover and Revision | 2 | 21 November 2008 | 31 December 2022 |
| Review | 3 | 19 November 2010 | 31 December 2022 |
| Review | 4 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.