| Title | Demonstrate knowledge of the management and use of water at an extractive site |
| --- | --- |
| Level | 4 | Credits | 7 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: consent conditions and the water management system for an extractive site; and the operation and maintenance of systems relating to water use at an extractive site. |
| --- | --- |

| Classification | Extractive Industries > Extractive Industries Management |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Performance of the outcomes of this unit standard must comply with the following:

Resource Management Act 1991.

2	Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

3	Definition

Company procedures mean the documented methods for performing work activities and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

4	This unit standard is intended for, but is not limited to, workplace assessment.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of consent conditions and the water management system for an extractive site.

Performance criteria

1.1	Requirements of the consent conditions in relation to the use of water are explained.

Range	may include but is not limited to – water quantities, water quality at discharge, catchment water runoff, storm water, water uptake.

1.2	Site surface control, runoff, and diversion management are described in accordance with resource consent.

Range	may include but is not limited to – water tables, sumps, culverts, channels, pumps, settling ponds.

1.3	The process of treating and discharging wash and surface runoff water is described in accordance with resource consent.

Range	may include but is not limited to – settling ponds, safety fencing, signage, weirs, open channels, treatment plant, pumps, flocculent material, filters, particle settlement, sampling, testing, reporting.

1.4	The process of containment, uplifting, and disposal of silt particles and fines is described in accordance with company procedures and resource consent.

Range	may include but is not limited to – tip disposal, landscaping, mixing, spreading, cleaning out settling ponds.

Outcome 2

Demonstrate knowledge of the operation and maintenance of systems relating to water use at an extractive site.

Performance criteria

2.1	Water system maintenance and cleaning is described in accordance with company procedures.

Range	may include but is not limited to – water tables, sumps, culverts, channels, pumps, settling ponds, drain holes, pipes, valves, dams, bulk heads.

2.2	Hazards and risks in relation to the systems for water use are described and methods for their elimination or control are explained in accordance with company procedures.

Range	may include but is not limited to – preparation for extreme weather events, trigger action response plans (TARPs), management plans, principal hazard management plans (PHMPs) (tips, ponds and voids).

2.3	The requirements for monitoring and reporting of water use and the water management system are described in accordance with company procedures.

2.4	Documentation related to water use is explained in accordance with company procedures.

2.5	The safety systems relating to water use and water management are described in accordance with company procedures.

Range	may include but is not limited to – risk assessments, warning signs, gates and fencing, guarding, alarms, fire fighting, water isolation, power isolation procedures.

| Replacement information | This unit standard replaced unit standard 8912. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 January 2005 | 31 December 2017 |
| Rollover and Revision | 2 | 16 July 2010 | 31 December 2017 |
| Review | 3 | 18 June 2015 | 31 December 2019 |
| Review | 4 | 1 March 2018 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0114 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

# Comments on this unit standard

Please contact MITO New Zealand Incorporated info@mito.org.nz if you wish to suggest changes to the content of this unit standard.