| Title | Demonstrate knowledge of safety requirements in gasfitting |
| --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of: – the recognition and reporting of unsafe situations or incidents; – gas hazards and safety precautions; – procedures in relation to gasfitting accidents or other incidents; – reporting gasfitting accidents or other incidents; and – making defective gas equipment safe. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health and Safety at Work Act 2015;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

The following standard, which is available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installation;

The following clause, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the recognition and reporting of unsafe situations or incidents.

Range	faulty appliances, installations, leaking gas, potential gas fire or explosion, carbon monoxide.

Performance criteria

1.1	Explain situations or methods that can identify unsafe situations in gasfitting.

1.2	Explain warning and reporting procedures of unsafe situations in the workplace in accordance with relevant legislation, standards, and codes.

1.3	Explain reporting requirements of the Gas (Safety and Measurement) Regulations 2010.

Range	immediately unsafe, deemed to be unsafe.

Outcome 2

Demonstrate knowledge of gas hazards and safety precautions.

Performance criteria

2.1	Explain the potential hazards arising from uncontained gas.

Range	fire, explosion, asphyxiation.

2.2	Identify sources of ignition.

2.3	Explain potential hazards arising from carbon monoxide poisoning.

2.4	Explain safety precautions and procedures for the control of gas hazards in accordance with relevant legislation, standards, and codes.

2.5	Describe the signs of a person being gas affected.

2.6	Describe common requirements for the safe handling of gas and associated equipment

Outcome 3

Demonstrate knowledge of procedures in relation to gasfitting accidents or other incidents.

Performance criteria

3.1	Explain typical site evacuation procedures in accordance with relevant legislation and codes.

3.2	Explain safety and/or gas supply isolating procedures in accordance with relevant legislation and codes.

3.3	Identify gas detection equipment and fire extinguishers as suitable for use with gas accidents or other incidents, in terms of the gas type.

3.4	Explain procedures for saving evidence in accordance with relevant legislation and codes.

3.5	Explain accident or incident site security procedures for non-interference in accordance with relevant legislation and codes.

Outcome 4

Demonstrate knowledge of reporting gasfitting accidents or other incidents.

Performance criteria

4.1	Identify the types of gasfitting accidents or other incidents that must be reported in accordance with relevant legislation and codes.

4.2	Explain the procedures, and details of reporting of gasfitting accidents or other incidents in accordance with relevant legislation and codes.

Range	place, time, and date of accident or other incident; description of the accident or other incident; any injuries, damage, and losses resulting from accident or other incident; other possible factors; time frame for reporting, parties involved.

Outcome 5

Demonstrate knowledge of making defective gas equipment safe.

Performance criteria

5.1	Explain procedures for making defective gas equipment safe in accordance with relevant legislation, standards, and codes.

Range	danger and warning labels are displayed, equipment is isolated from gas supply.

5.2	Explain procedures for the placement and removal of warning notices in accordance with the Gas (Safety and Measurement) Regulations 2010.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 25 October 2007 | 31 December 2022 |
| Review | 2 | 23 November 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.