| Title | Inspect site, calculate quantities and prepare orders for materials for suspended ceilings |
| --- | --- |
| Level | 3 | Credits | 6 |

| Purpose | People credited with this unit standard are able to inspect conditions for suspended ceilings on site; calculate quantities and prepare orders for materials for suspended ceilings. |
| --- | --- |

| Classification | Construction Trades > Specialist Interiors |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

Site drawings are details not covered in the working drawings that are drawn to illustrate changes to, or methods of construction.

Specifications refers to documented instructions (oral, written, graphic) and may include any of the following:  manufacturer’s specifications, recommendations or technical data sheets; material specifications; specifications from a specialist source such as an architect, designer, engineer or a supervisor; site or work specific requirements.

On site refers to a wide range of building and construction environments within which trade skills are applied.

Work site practice refers to the documented procedures specific to a work site, which set out the standard and required practices of that work site.

Working drawings refers to a set of plans that details the construction specific to the project.

2	All work practices must comply with the following: Health and Safety in Employment Act 1992; Health and Safety in Employment Regulations 1995; Resource Management Act 1991; Building Act 2004; New Zealand Building Code; Approved Code of Practice for the Safe Erection and Use of Scaffolding (Department of Labour, Wellington, 1995) available at http://www.osh.govt.nz; AS/NZS 2785:2000 Suspended ceilings – Design and installation, available from Standards NZ (http://www.standards.co.nz).

3	Credit for this unit standard indicates compliance with industry practice.  Industry practice refers to the ability to demonstrate knowledge and skills that reflect the productivity, uniformity, finish quality and material economies currently accepted within industry.

Outcomes and performance criteria

Outcome 1

Inspect conditions for suspended ceilings on site.

Performance criteria

1.1	Manufacturers’ and working drawing specifications for suspended ceilings are identified in accordance with work site practice.

1.2	Site is checked to confirm all associated work is completed prior to installing suspended ceilings, and work area has clear access.

1.3	Storage areas are checked to ensure specified quality of materials can be maintained.

Outcome 2

Calculate quantities and prepare orders for materials for suspended ceilings.

Range	two different installations.

Performance criteria

2.1	The location of the suspended ceilings is identified from the working drawings and on-site inspection.

2.2	Suspended ceiling system is identified from working drawings or job specifications.

2.3	Site drawings are completed to comply with manufacturer’s specifications.

2.4	Quantities of materials are calculated from working or site drawings and an order is prepared in accordance with work site practice.

| Replacement information | This unit standard replaced unit standard 4337 and unit standard 6125. |
| --- | --- |

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 May 2006 | 31 December 2024 |
| Review | 2 | 20 November 2006 | 31 December 2024 |
| Review | 3 | 26 May 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.