| Title | Demonstrate and apply knowledge of renewable energy electricity generation systems |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard covers renewable energy systems and associated equipment and is for people in the electrical and related trades. People credited with this unit standard are able to demonstrate: – knowledge of renewable energy electricity generation systems; and – and apply knowledge of renewable energy electricity generation system installations. |
| --- | --- |

| Classification | Electrical Engineering > Core Electrical |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	This unit standard and unit standards 29424, 29438, and 29482 meet the assessment requirements of ERAC EPC 55.

3	Definitions

d.c. – direct current.

EPC – Essential Performance Capabilities.

ERAC – Electrical Regulatory Authorities Council.

EWRB – Electrical Workers Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of renewable energy electricity generation systems.

Performance criteria

1.1	Describe renewable electricity generation systems.

Range	photovoltaic, wind, micro-hydro.

1.2	Explain the standards to which the selection, installation, and control equipment of each type of system must comply.

1.3	Describe basic requirements of renewable electricity generation systems.

Range	d.c. polarity, switching and protection devices, earthing arrangements.

1.4	Explain, with the aid of diagrams, inverter operation principles and the requirements to connect an inverter to a renewable electricity generation system with the aid of diagrams.

1.5	Describe stand-alone and grid-connected systems and outline the advantages and disadvantages of each.

1.6	Describe safe isolation and testing procedures.

1.7	Describe potential hazards associated with renewable energy electricity generation systems and explain precautions to be observed.

Outcome 2

Demonstrate and apply knowledge of renewable energy electricity generation system installations.

Performance criteria

2.1	Describe backup battery storage requirements.

2.2	Describe uninterruptible power supplies.

2.3	Describe arrangement for connecting an alternative supply to an installation in order to maintain supply security.

2.4	Explain metering requirements for grid-connected systems.

2.5	Describe methods of evaluating the suitability of a site for locating photovoltaic, wind, and micro-hydro systems.

Range	environmental impact, sustainability, construction, disassembly.

2.6	Describe ideal locations for the installation of photovoltaic, wind, and micro-hydro systems and explain the reasons for the choice.

2.7	Calculate the requirements for a domestic photovoltaic system installation based on a given specification.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 July 2016 | 31 December 2027 |
| Review | 2 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.