| Title | Demonstrate knowledge of power protection and control networks |
| --- | --- |
| Level | 5 | Credits | 15 |

| Purpose | People credited with this unit standard are able to: demonstrate understanding of power protection and control networking fundamentals in the electricity supply industry demonstrate understanding of Ethernet and serial fieldbus fundamentals utilised by power protection equipment in the electricity supply industry apply a router or switch to an Ethernet LAN network for use with power protection and control systems in the electricity supply industry. This standard provides electricity supply industry power technicians with the fundamental knowledge of power protection and control network theory, and hardware. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Power System Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to:

- Electricity Act 1992

- Health and Safety at Work Act 2015

- Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) and relevant EEA guides available from www.eea.co.nz.

and any subsequent amendments and replacements

3	Definitions

Cable – coaxial, copper, optical fibre.

Coaxial cable – includes 10Mbps baseband coaxial cable (Thinnet) (10Base-2) and 10Mbps baseband coaxial cable (Thicknet) (10Base-5).

DNP – distributed network protocol.

Ethernet – a computer network using Carrier Sense, Multiple Access, Collision Detection (CSMA/CD), which has data collision detection, it is used to pass data across a physical media.

Gbps – gigabits per second.

IPv – internet protocol version.

LAN – local area network.

MAC – media access control.

# Mbps – megabits per second.

Network media – cable, wireless.

OSI – open systems interconnect model.

RS – recommended standard

TCP – transmission control protocol

TCP/IP – transmission control protocol/internet protocol

UTP – unshielded twisted pair.

URL – uniform resource locator.

WAN – wide area network.

Outcomes and performance criteria

Outcome 1

Demonstrate understanding of power protection and control networking fundamentals in the electricity supply industry.

Performance criteria

1.1	Terminology used in industrial protection and control networks is explained.

Range	may include – connection, packet, network interface, protocol, port, firewall, layers, addresses, URL, router, switches, gateway;

evidence of eight explanations is required.

1.2	Networking services used to support communication in data networks are explained.

Range	may include – topology, protocols, LANs, WANs, intranets, extranets;

evidence of two network services is required.

1.3	The characteristics of network media are explained.

Range	may include – copper, coaxial, UTP, optical fibres, wireless;

evidence of three media types is required.

Outcome 2

Demonstrate understanding of Ethernet and serial fieldbus fundamentals utilised by power protection equipment in the electricity supply industry.

Performance criteria

2.1	The structure of network models and protocol layers is explained.

Range	includes but is not limited to – OSI, TCP and/or IP.

2.2	Function of physical layer protocols are explained.

Range	includes but is not limited to – RS232, RS485.

2.3	Characteristics of common industrial fieldbus protocols are explained.

Range	includes but is not limited to – Modbus, DNP3.

2.4	Fundamental Ethernet media access control is explained.

Range	includes but is not limited to – MAC, timing, CSMA/CD, error handling, link establishment.

2.5	The types of Ethernet technologies are explained.

Range	includes but is not limited to – 10 Mbps, 100 Mbps, 1000 Mbps, 10 Gbps.

2.6	TCP/IP and IP addressing in networks are explained.

Range	IPv4, IPv6.

2.7	The purpose of TCP/IP transport and application layers is explained.

2.8	The function of gateways and firewalls as applied to protection systems is explained.

Outcome 3

Apply a router or a switch to an Ethernet LAN network for use with power protection or control systems in the electricity supply industry.

Performance criteria

3.1	A network design for one router or one switch in a protection or control network is planned.

3.2	Network design is implemented using cabling or wireless links and network hardware.

3.3	Configuring software is used to program a router or a switch.

3.4	Tests are carried out to confirm network operation.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 20 July 2017 | N/A |
| Rollover and Revision | 2 | 2 March 2023 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@WaihangaAraRau.nz if you wish to suggest changes to the content of this unit standard.