| Title | Demonstrate knowledge of and operate fire safety equipment in an energy and chemical plant |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 5 |

| Purpose | This unit standard is intended for people working as boiler operators and energy and chemical process operators in an energy and chemical plant. People credited with this unit standard are able to demonstrate knowledge of fire and types of fire safety equipment used in an energy and chemical plant; and operate fire safety equipment in an energy and chemical plant. |
| --- | --- |

| Classification | Energy and Chemical Plant > Safety and Legislation for Energy and Chemical Plant |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015;

- Hazardous Substances and New Organisms Act 1996;

- Resource Management Act 1991;

and any subsequent amendments.

- Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.

Organisational requirements – documented policies and procedures.  These may include: equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions.  This includes all regulatory and legislative obligations that apply to the plant.

Plant – the operational unit, equipment and/or workplace at which the person is working.

- For the purposes of assessment:

- evidence for the practical components of this unit standard must be supplied from the workplace or a simulated workplace.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of fire and types of fire safety equipment used in an energy and chemical plant.

Performance criteria

1.1	Describe the basic chemistry of fire in terms of the fire triangle.

1.2	Describe the principles of extinguishment in terms of the fire triangle.

Range	extinguishment includes but is not limited to – cooling, smothering, isolation, chemical reaction.

1.3	Identify and describe the classification of fires in terms of type.

Range	classifications include but are not limited to – Class A, Class B, Class C, Class D, Class E, Class F;

evidence of one example for each classification is required.

1.4	Describe the concepts of upper and lower limits of flammability in terms of site-specific examples.

Range	evidence of one example of each is required.

1.5	Describe fire safety systems in terms of their function.

Range	fire safety systems include but are not limited to – extinguishers, fire ring main, sprinkler heads, alarms, pumps, deluge, foam, gas flood suppression.

1.6	Describe fire extinguishers in terms of their suitability for different classes of fire.

Range	fire extinguishers include but are not limited to – water, foam, dry powder, carbon dioxide.

1.7	Identify and describe hazard detection systems and equipment in terms of their purpose.

Range	hazard detection systems include but are not limited to – heat detectors, smoke detectors, gas detectors, flame detectors.

Outcome 2

Operate fire safety equipment in an energy and chemical plant.

Performance criteria

2.1	Communicate and report emergency conditions to relevant personnel in accordance with organisational requirements.

2.2	Assess emergency conditions to determine operating approach in accordance with organisational requirements.

Range	operating approach includes but is not limited to – equipment requirements, method of using equipment, downstream and upstream effects, personnel protection.

2.3	Carry out fire control techniques in accordance with organisational requirements.

Range	techniques include but are not limited to – containment, extinguishment, cooling, personnel protection.

2.4	Operate the hose reel and extinguisher equipment in accordance with organisational requirements.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 8 November 1995 | 31 December 2014 |
| Revision | 2 | 15 December 1998 | 31 December 2014 |
| Review | 3 | 29 May 2000 | 31 December 2014 |
| Revision | 4 | 24 July 2002 | 31 December 2014 |
| Review | 5 | 27 June 2005 | 31 December 2014 |
| Rollover and Revision | 6 | 25 July 2006 | 31 December 2014 |
| Review | 7 | 22 May 2009 | 31 December 2016 |
| Review | 8 | 24 October 2014 | 31 December 2022 |
| Review | 9 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0079 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact the Primary Industry Training Organisation standards@primaryito.ac.nz if you wish to suggest changes to the content of this unit standard.