| Title | Demonstrate knowledge of the installation and maintenance of foulwater drains |
| --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | This unit standard is for people who work in the drainlaying industry. People credited with this unit standard are able to: – demonstrate knowledge of legislation, regulations, concepts, and principles underpinning the installation of foulwater drains; – describe the purpose, operation, and maintenance of sewer gas interceptor traps in accordance with standard AS/NZS 3500.2:2015; and – demonstrate knowledge of materials and fittings relevant to drainlaying. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Plumbers, Gasfitters, and Drainlayers Act 2006;

Health and Safety at Work Act 2015;

Building Act 2004;

Health Act 1956;

Resource Management Act 1991;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 1547:2000 On-site domestic wastewater management

AS/NZS 1546.1:2008 On-site domestic wastewater treatment units – Septic tanks, AS/NZS 3500.2:2015 Plumbing and drainage – Sanitary plumbing and drainage,

The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause E1 Surface Water

New Zealand Building Code Clause G12 Water Supplies

New Zealand Building Code Clause G13 Foul Water;

and all subsequent amendments and replacements.

2	Definitions

Access point – a place where access may be made to a drain or discharge pipe for inspection, cleaning or maintenance, and includes inspection point, rodding point, and cleaning eye.

Inspection point – a removable cap at drain level through which access may be made for cleaning and inspecting the drainage system.

Rodding point – a removable cap at ground level through which access may be made for cleaning or inspecting the drainage system.

Cleaning eye – a small diameter access point.

Job specifications, for the purposes of this unit standard, refer to instructions (oral, written, graphic) and may include any of the following: manufacturers’ instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Other services – any existing installed services such as water, gas, electricity, or telephone network cables.

3	All practical activities are to be carried out in a way that avoids harm to people and damage to property, environment, other services, materials, tools, and equipment.

4	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of legislation, regulations, concepts, and principles underpinning the installation of foulwater drains.

Performance criteria

1.1	Describe relevant sections of legislation, standards, and codes in terms of their application to the installation of foulwater drain systems.

1.2	Explain the application of underpinning concepts and principles to the installation of foulwater drains.

Range	gradient and sizing, venting, bedding, coverage and protection, material selection, overflow relief, approved outfall.

1.3	Explain the purpose, features, and requirements of access points, other than inspection chambers.

Range	inspection points, rodding points, cleaning eyes.

1.4	Describe types of access points that are appropriate for different purposes, and their positioning in the drainage pipework system.

1.5	Describe the purpose of thrust/anchor and anti scour blocks in a drainage system.

Outcome 2

Describe the purpose, operation, and maintenance of sewer gas interceptor traps in accordance with standard AS/NZS 3500.2:2015.

Range	boundary traps.

Performance criteria

2.1	Describe reasons for the installation of sewer gas interceptor traps.

2.2	Describe location, components, and operation of sewer gas interceptor traps.

2.3	Explain diagnosis processes for faults in sewer gas interceptor traps.

2.4	Explain processes for the maintenance and removal of sewer gas interceptor traps.

Outcome 3

Demonstrate knowledge of materials and fittings relevant to drainlaying.

Range	pipework includes pipes and associated fittings.

Performance criteria

3.1	Describe the job situation in which types of new pipe and pipework would be appropriate.

Range	pipes – uPVC, polyethylene, earthenware, concrete, steel, ABS.

3.2	Describe the environment in which different types of existing pipe and pipework would be encountered.

Range	pipes – uPVC, polyethylene, earthenware, concrete, steel, ABS. Asbestos or other hazardous material, cast iron, copper, brass.

3.3	Describe the characteristics of different types of pipes according to the material of which they are constructed.

Range	pipes – uPVC, polyethylene, earthenware, concrete, steel, ABS;

durability, rigidity/flexibility, load bearing capacity.

3.4	Describe jointing methods appropriate for the materials being joined, including the jointing of pipes of different materials.

Range	band clamped sleeve, plaster /epoxy mortar (epoxy resin), compression, glue /solvent cement/ solvent weld, electrofusion weld, rubber ring.

3.5	Explain methods of conducting soundness tests of different types of drainage systems.

3.6	Explain the requirements to conduct soundness tests in accordance with relevant legislation, regulations, codes, and standards.

3.7	Describe methods and requirements for the protection of pipework prior to covering.

3.8	Describe precautions and procedures to be adopted with potentially hazardous materials.

Range	includes but is not limited to – asbestos, concrete dust, cement, solvent fumes.

3.9	Describe precautions and procedures to be adopted with pipes conveying potentially hazardous materials.

Range	may include but is not limited to – foul water, hot water, corrosive liquid, petrol oil lubricants.

| Replacement information | This unit standard and unit standard 30531 replaced unit standard 1114, unit standard 1115, unit standard 1117, and unit standard 27336. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 28 September 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.