| Title | Demonstrate knowledge of alternative water supply and water storage for sanitary plumbing |
| --- | --- |
| Level | 4 | Credits | 3 |

| Purpose | This unit standard is for people who work, or intend to work, in the plumbing industry. People credited with this unit standard are able to demonstrate knowledge of: – alternative water supplies for sanitary plumbing; – water storage systems for sanitary plumbing; and – regulatory requirements as applied to alternative water supplies, and water storage systems for sanitary plumbing. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Plumbing |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Health Act 1956;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 3500.1:2015 Plumbing and drainage – Part 1: Water services,

NZS 3604:2011 Timber-framed buildings,

NZS 5807:1980 Code of practice for industrial identification by colour, wording or other coding;

The following clauses and any related compliance documents, which are available at https://www.building.govt.nz;

New Zealand Building Code Clause G10 Piped Services,

New Zealand Building Code Clause G12 Water Supplies;

and all their amendments and replacements.

2	This unit standard relates to the storage of water sourced from both reticulated network authority and self-contained water supply systems.  Self-contained water supply systems may refer to private water collection or bore and distribution systems.

3	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of alternative water supplies for sanitary plumbing.

Range	rainwater, bore water, grey water.

Performance criteria

1.1	Describe methods to access alternative sources of water to supply sanitary plumbing needs.

1.2	Describe requirements to manage water quality of alternative supply sources.

1.3	Describe limitations on the use that can be made of water from alternative sources.

Outcome 2

Demonstrate knowledge of water storage systems for sanitary plumbing.

Performance criteria

2.1	Describe the operation of gravity feed water storage systems.

Range	external elevated reservoir, internal header tank, break tanks in multi-story buildings.

2.2	Describe particular requirements for water storage systems.

Range	grey water, emergency water supply, storage for fire protection.

2.3	Describe the requirements to provide overflow protection for water storage systems.

Outcome 3

Demonstrate knowledge of regulatory requirements as applied to alternative water supplies, and water storage systems for sanitary plumbing.

Performance criteria

3.1	Describe the application of relevant sections of legislation, standards, and codes to the use of alternative water supplies.

3.2	Describe the application of relevant sections of legislation, standards, and codes to the installation, securing, and maintenance of water storage systems.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.