| Title | Demonstrate knowledge of water, material properties, and of less frequently used materials in plumbing and drainlaying |
| --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard has been designed to be achieved in a plumbing and/or drainlaying context. People credited with this unit standard are able to demonstrate knowledge of: – water in relation to plumbing and drainlaying; – compatibility and protection considerations of materials used in plumbing and drainlaying; – properties of less frequently used materials in plumbing and drainlaying; and – the application of less frequently used materials used in plumbing and drainlaying. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Core Plumbing, Gasfitting, and Drainlaying |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

AS/NZS 3500.2:2015 Plumbing and drainage – Sanitary plumbing and drainage, available at http://www.standards.govt.nz;

and all subsequent amendments and replacements.

2	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of water in relation to plumbing and drainlaying.

Performance criteria

1.1	Describe water in terms of density and energy transfer properties.

1.2	Describe the qualities of potable, grey, recycled, and foul water in relation to plumbing and drainlaying.

Outcome 2

Demonstrate knowledge of compatibility and protection considerations of materials used in plumbing and drainlaying.

Performance criteria

2.1	Describe compatibility considerations that arise when using different materials in conjunction with each other.

2.2	Describe considerations relating to protecting materials used in a plumbing drainlaying project.

Outcome 3

Demonstrate knowledge of properties of less frequently used materials in plumbing and drainlaying.

Range	stainless steel, glass, cast iron, lead.

Performance criteria

3.1	Describe the materials in terms of their general physical properties.

Range may include but is not limited to strength, rigidity, malleability.

3.2	Describe the properties of the materials in terms of their use in plumbing and drainlaying.

Range may include but is not limited to conduction of heat, response to temperature change, abrasion resistance, corrosion resistance, malleability.

Outcome 4

Demonstrate knowledge of the application of less frequently used materials used in plumbing and drainlaying.

Range	stainless steel, glass, cast iron, lead, brass, bronze.

Performance criteria

4.1	Describe the situations in which the materials are appropriate for use in a plumbing or drainlaying project.

4.2	Describe the situations in which the materials should not be used in a plumbing or drainlaying project.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 26 October 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.