| Title | Demonstrate knowledge of flues for gas appliances |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of flues for gas appliances. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standard, which is available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installations;

The following clauses, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code, Clause E2 External Moisture,

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

3	This unit standard requires the application of theory as included in the Plumbers, Gasfitters, and Drainlayers Regulations 2010.

4	Definitions

Flue systems – natural draft systems including open type or room sealed balanced, individual or common flues, use of existing chimney; and power flued systems including fan assisted, forced draft, induced draft.

Other services – any existing installed services.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of flues for gas appliances.

Performance criteria

1.1	Describe types of flue system.

1.2	Describe the situations in which each type of flue system is best used.

1.3	Describe means of heat protection.

Range	single skin, double skin, safety shield, cage, clearances, cavity ventilation.

1.4	Explain code requirements relating to offsets and clearances from cowls.

1.5	Determine the sizing of common flues to comply with AS/NZS 5601.1:2013.

1.6	Determine suitable flue materials, applications, and limitations to comply with AS/NZS 5601.1:2013.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.