| Title | Demonstrate knowledge of the installation and maintenance of gas control and safety devices |
| --- | --- |
| Level | 4 | Credits | 5 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of: – gas control and safety devices and their installation; – the testing, purging, and commissioning of gas control and safety devices; – the maintenance of gas control and safety devices; and – regulatory requirements and operating principles of gas control and safety devices. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Electricity Act 1992;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

Health and Safety at Work Act 2015;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Plumbers, Gasfitters, and Drainlayers Regulations 2010;

The following standard, which is available at http://www.standards.govt.nz:

NZS 5261:2003 Gas installation;

The following clause, and any related compliance documents, which are available at https://www.building.govt.nz/:

New Zealand Building Code Clause G11 Gas as an Energy Source;

and all subsequent amendments and replacements.

2	This unit standard applies to gas control devices used in gas installations between the point of supply and the appliance.

3	Range

Control and safety devices include but are not limited to – regulators, pressure-raising devices, under and over pressure cut offs, valves, solenoids, excess-flow valves, filters.

4	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

5	Definitions

Job specifications – instructions (oral, written, graphic) and may include any of the following: manufacturers’ instructions; design drawing detail specifications; specifications from a specialist source such as an architect, designer, engineer, or a supervisor; and site or work specific requirements.  Where job specifications are in conflict with applicable legislation, standards, and/or codes, such legislation, standards, and/or codes shall take precedence for the purpose of assessment.

Maintain may refer to all or any of – repair, upgrade, alter, remove, replace.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of gas control and safety devices and their installation.

Performance criteria

1.1	Identify and describe gas control and safety devices.

1.2	Describe how gas control and safety devices are connected to connection and termination points in accordance with job specifications.

1.3	Explain how gas control and safety devices are secured and protected in accordance with job specifications.

Outcome 2

Demonstrate knowledge of the testing, purging, and commissioning of gas control and safety devices.

Performance criteria

2.1	Explain how gas control and safety devices are tested, purged, and commissioned in accordance with job specifications and relevant standards and codes.

Outcome 3

Demonstrate knowledge of the maintenance of gas control and safety devices.

Performance criteria

3.1	Explain how faults and possible means of rectification are identified.

3.2	Describe the need for retesting and recommissioning of gas control and safety devices in accordance with maintenance requirements and relevant standards and codes.

Outcome 4

Demonstrate knowledge of regulatory requirements and operating principles of gas control and safety devices.

Performance criteria

4.1	Describe applicable sections of legislation, standards, and codes in terms of their application to the installation, testing, purging, commissioning, and maintenance of gas control and safety devices.

4.2	Explain the operating principles of gas control and safety devices.

| Replacement information | This unit standard and unit standard 30714 replaced unit standard 21898. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.