| Title | Demonstrate knowledge of the key features of high consumption gas appliances and equipment |
| --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | This unit standard is for people who work in the gasfitting industry. People credited with this unit standard are able to demonstrate knowledge of the key features of high consumption gas appliances and equipment. |
| --- | --- |

| Classification | Plumbing, Gasfitting and Drainlaying > Gasfitting |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	References

Building Act 2004;

Gas Act 1992;

Gas (Safety and Measurement) Regulations 2010;

New Zealand Building Code;

The following standard, which is available at http://www.saiglobal.com.au/shop:

AS 3814:2015 Industrial and commercial gas-fired appliances;

The following standards, which are available at http://www.standards.govt.nz:

AS/NZS 5601.1:2013 Gas installations,

NZS 3604:1999 Timber Framed Buildings;

and all subsequent amendments and replacements.

2	Range

High consumption gas appliances include but are not limited to – forced draught, induced draught, air blast, nozzle mix, atmospheric pre-aerated, low pressure and high pressure; atmospheric post-aerated.

3	Credit for this unit standard does not entitle the candidate to legally perform certain electrical aspects of this work unless registered or supervised by a registered person under the provisions of the Electricity Act 1992.

4	Definition

High consumption gas appliances and equipment – electronically and/or mechanically controlled gas appliances and equipment generally above 250MJ per hour rated input, and to one-off designs.

5	Candidates must hold a current limited certificate or exemption under supervision as issued under the Plumbers, Gasfitters, and Drainlayers Act 2006.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of the key features of high consumption gas appliances and equipment.

Performance criteria

1.1	Describe design and assembly considerations for high consumption gas appliances and equipment.

Range	built for purpose, for specific application rather than mass produced.

1.2	Explain the purpose of a mixer; automatic safety shut off valves (SSOV); vent valve; single stage valves and two stage valves; low gas pressure detector; high gas pressure detector, pressure control devices.

1.3	Explain the operation of the burner unit.

1.4	Identify from simple line diagrams gas valve symbols from AS/NZS 5601 Part 1 Appendix P.

1.5	Identify type of gas shutoff system from the same diagrams as are used for performance criterion 1.4.

Range	gas shut-off system includes – single block, double block, double block-and-vent.

1.6	Identify the compliance standard that applies to industrial appliances and their gas control valve trains.

1.7	Describe the desired range of gasses in a flue gas sample that indicate the appliance is burning efficiently.

Range	oxygen (O2), carbon dioxide (CO2), carbon monoxide (CO), and the ratio of carbon monoxide to carbon dioxide.

1.8	Identify the GJ/h rating that a shut-off system is adequate up to, to comply with AS 3814:2015.

Range	single block, double block.

| Replacement information | This unit standard replaced unit standard 21869. |
| --- | --- |

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 23 November 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact The Skills Organisation reviewcomments@skills.org.nz if you wish to suggest changes to the content of this unit standard.