| Title | Demonstrate knowledge of licensing requirements, and undertake solid plastering work to meet consent compliance |
| --- | --- |
| Level | 4 | Credits | 4 |

| Purpose | This unit standard is intended for people working in the solid plastering industry. People credited with this unit standard are able to demonstrate knowledge of licensing requirements, and undertake solid plastering work to meet consent compliance to the level required of a commercially competent solid plasterer. |
| --- | --- |

| Classification | Construction Trades > Solid Plastering |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Assessment

This unit standard is one of a family of standards intended to align with the New Zealand Certificate in Trowel Trades – Specifications, and the New Zealand Certificate in Trowel Trades (Level 4) with strands in Brick and Block Laying, Floor and Wall Tiling, Proprietary Plaster Cladding Systems, Ferro-cement Tank Manufacture, Refractory Installation, and Solid Plastering (with optional strands in Fixing Cavities and Substrates, and Decorative Mouldings) [Ref: 3137].

Evidence for this unit standard must reflect commercial competence.

Commercial competence requires a candidate to be capable of consistently performing the requirements of the unit specification:

- to current regulatory, industry and commercial standards

- within a commercially viable timeframe

- in commercial environments

- without supervision

- in different and unfamiliar contexts.

Commercial competence must be confirmed by a person who has current expertise in the solid plastering trade.

2	Definitions

Licensing refers to the Licensed Building Practitioner (LBP) Scheme.  The Ministry of Business, Innovation and Employment is the regulator for the LBP scheme.

Workplace procedures refer to the documented procedures specific to a workplace which sets out the standard and the required practices of that workplace.

3	Legislation, standards and guidance information relevant to this standard includes the following, and any subsequent amendments and replacements:

New Zealand Certificate in Trowel Trades – Specifications, BCITO, August 2021, available from www.waihangaararau.nz.

Legislation accessed at www.legislation.govt.nz

- Building Act 2004,

- Health and Safety at Work Act 2015,

- The New Zealand Building Code.

Standard accessed at www.standards.govt.nz

- NZS 4251.1:2007 Solid plastering – Cement plasters for walls, ceilings and soffits.

Best practice and good practice guidelines

- The Absolutely Essential Health and Safety Toolkit for Small Construction Sites, and other Worksafe NZ publications available from www.worksafe.govt.nz.

Skill specification and performance level guidance

Skill specification

Demonstrate knowledge of licensing requirements, and undertake solid plastering work to meet consent compliance.

Range	consents include – resource, building.

Knowledge

How the LBP scheme operates in the New Zealand construction industry.

The requirements and responsibilities of being a LBP.

How the consenting process operates in the New Zealand construction industry.

The requirements and responsibilities of undertaking consentable work in a solid plastering context.

Skills

Meet building consent compliance in a solid plastering context.

Performance level guidance

Performance must reflect workplace procedures and legislative requirements, and New Zealand Standards relevant to solid plastering.

LBPs are required to design or carry out restricted building work.  It is not a requirement to be a LBP to undertake the building work; it is required that consentable work completed must be supervised and signed off by a LBP.

| Planned review date | 31 December 2027 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 27 September 2018 | 31 December 2025 |
| Review | 2 | 25 August 2022 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.