| Title | Identify and describe the principles of suspended ceiling systems |
| --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | People credited with this unit standard are able to identify and describe the principles of suspended ceiling systems. |
| --- | --- |

| Classification | Construction Trades > Specialist Interiors |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Credit for this unit standard can be achieved on site through a registered assessor, or off site with an accredited training provider.

2	The principles of design for suspended ceiling systems can be found in AS/NZS 2785:2000 Suspended ceilings – Design and installation, available from Standards NZ (http://www.standards.co.nz).

3	Legislation relevant to this unit standard includes:

Health and Safety in Employment Act 1992; Health and Safety in Employment Regulations 1995; Building Act 2004.

Outcomes and performance criteria

Outcome 1

Identify and describe the principles of suspended ceiling systems.

Performance criteria

1.1	The description identifies principles of design for suspended ceiling systems and their components.

Range	two way exposed grid, one way exposed grid, concealed panel grid, concealed sheet lining grid, metal linear panels.

1.2	The description identifies principles of construction for suspended ceiling systems.

Range	sheet, panel, strip, sound control, thermal insulated, seismic requirements in accordance with AS/NZS 2785:2000.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 18 January 1996 | 31 December 2024 |
| Revision | 2 | 5 July 1999 | 31 December 2024 |
| Review | 3 | 29 August 2000 | 31 December 2024 |
| Revision | 4 | 18 May 2005 | 31 December 2024 |
| Review | 5 | 19 May 2006 | 31 December 2024 |
| Review | 6 | 20 November 2006 | 31 December 2024 |
| Review | 7 | 26 May 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.