| Title | Demonstrate knowledge of principles related to provision of services for medium and large buildings |
| --- | --- |
| Level | 5 | Credits | 10 |

| Purpose | People credited with this unit standard are able to, for medium and large buildings: explain purposes and operating principles of services; explain principles of coordination and placement and reticulation of services; and demonstrate knowledge of legislative requirements relevant to services. |
| --- | --- |

| Classification | Construction > Core Planning and Construction |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Definitions

Medium buildings are light to medium weight commercial or industrial buildings up to three levels above ground which utilise commercial or industrial materials, construction techniques, and services.

Large buildings are high-rise, large and complex buildings of more than three levels above ground level, and/or complex specialist structures.

2	Assessment of this unit standard can be by simulation and/or observation.

3	Legislation and publications relevant to this unit standard include: Health and Safety in Employment Act 1992 and Health and Safety in Employment Regulations 1995;

Resource Management Act 1991;

Building Act 2004;

Electricity Act 1992;

Plumbers, Gasfitters, and Drainlayers Act 2006;

Telecommunications Act 2001;

New Zealand Building Code;

AS/NZS 3500 Set, available from Standards New Zealand (http://www.standards.co.nz).

Outcomes and performance criteria

Outcome 1

Explain purposes and operating principles of services in medium and large buildings.

Range	plumbing, cold and hot water, solid waste disposal, drainage, electricity, gas, ventilation, air conditioning, heating, telecommunications, transport systems, active fire protection, building management system, access control, building maintenance unit, specialist services (such as in a hospital).

Performance criteria

1.1	Purposes of services are identified with reference to the requirements of medium and large buildings.

1.2	Components of services are identified in terms of their function.

1.3	Operating principles of services are explained in terms of their effects on building design and construction.

1.4	Explanation of services identifies their safety features.

Outcome 2

Explain principles of coordination and placement and reticulation of services for medium and large buildings.

Range	electrical, plumbing including cold and hot water, active fire protection, transport systems, heating, ventilation and air conditioning (HVAC).

Performance criteria

2.1	Principles of coordination and placement of services are explained in terms of their compatibility in medium and large buildings.

2.2	Principles regarding the placement of services in medium and large buildings are explained in terms of requirements for construction, use, and servicing.

2.3	Principles of coordination between services consultants are explained in terms of their requirements for the project.

2.4	Service drawings are interpreted to enable coordination of services.

Outcome 3

Demonstrate knowledge of legislative requirements relevant to services in medium and large buildings.

Range	electrical, plumbing including cold and hot water, active fire protection, transport systems, heating, ventilation and air conditioning (HVAC).

Performance criteria

3.1	Legislative requirements are analysed to determine the provision of services for medium and large buildings.

3.2	Situations are identified where the expertise of other professionals is required.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 21 March 1997 | 31 December 2024 |
| Revision | 2 | 10 December 1997 | 31 December 2024 |
| Revision | 3 | 7 June 2000 | 31 December 2024 |
| Review | 4 | 20 March 2003 | 31 December 2024 |
| Revision | 5 | 19 July 2004 | 31 December 2024 |
| Review | 6 | 18 March 2011 | 31 December 2024 |
| Review | 7 | 25 August 2022 | 31 December 2024 |

| Consent and Moderation Requirements (CMR) reference | 0048 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.