| Title | Read and interpret HVAC system drawings |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 3 |

| Purpose | This unit standard is intended primarily for use in the training of personnel in the heating, ventilating, and air conditioning (HVAC) industry and covers interpretation of HVAC systems drawings to determine components, shapes, sizes, interfaces or connections, flow, pressure, installation requirements, and any special requirements. People credited with this unit standard are able to read and interpret HVAC system drawings. |
| --- | --- |

| Classification | Mechanical Engineering > Heating, Ventilating, and Air Conditioning |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Unit standard 29654, Demonstrate knowledge of and interpret mechanical engineering drawings and geometric tolerancing is recommended for entry into this unit standard.

2	Reference

NZS/AS 1100.301:1985, Technical drawing - Architectural drawing.

3	Definition

Interpretation in this unit standard is taken to mean the explanation of the meanings in practical terms of features shown graphically in the drawing.

Outcomes and performance criteria

Outcome 1

Read and interpret HVAC system drawings.

Range	interpretation from three supplied drawings.

drawings include – ducting drawings, mechanical services layout, piping arrangements, schematics, block schematics.

Performance criteria

1.1	Different types of lines are interpreted.

Range	visible at low level, visible at high level, concealed at high level, concealed at low level, vertical concealed, vertical visible, external.

1.2	Different types of pipe and ducts are interpreted.

Range	material type, round, square, uninsulated, insulated.

1.3	Symbols and abbreviations relating to system components are interpreted.

Range	system components include – cooling towers, air handling units, cooling and heating coils, fans, furnaces, pumps, dampers, filters, compressors, condensers, chillers, controllers, sensors, diffusers, evaporators, valves, meters, grilles, ducts, air drives, fan coil unit.

1.4	Associated information is interpreted.

Range	associated information includes – air flow, water flow, pipe pressure, component manufacturer’s designations, directional characteristics.

| Planned review date | 31 December 2022 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 16 July 2010 | 31 December 2022 |
| Review | 2 | 26 October 2017 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0013 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Competenz qualifications@competenz.org.nz if you wish to suggest changes to the content of this unit standard.