| 40003 | Plan a concrete pumping operation |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard recognises the skills required to plan a concrete pumping operation. This skill standard aligns with the New Zealand Certificate in Concrete (Specialist) [Ref: 4186] (Level 4) with strands in Concrete Pump Operation (Boom Delivery System) or Concrete Pump Operation (Line Delivery System) strands. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Identify and collate job information for a concrete pumping operation. | - Job location and contacts, concrete mix and supplier, machinery, and operator requirements are confirmed and recorded according to workplace requirements. |
|  | - Quality control and safety considerations are checked according to workplace requirements. |
| - Assess on-site conditions to plan safe operating requirements for a concrete pumping. | - Assessment identifies safe access, location for pump machinery and equipment, ground conditions and stabilisation requirements. |
|  | - Job sequencing for safety and efficient concrete delivery is recorded. |
|  | - Potential significant hazards and risks are identified, and control methods determined and recorded. |
|  | - Concrete pumping plan is approved according to workplace procedures. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

The concrete pumping plan must meet workplace requirements and be developed to the standard required of a commercially competent concrete pump operator.

Concrete pump operation does not include driver licensing requirements.

A concrete pumping operation involves the use of pump machinery to transfer the concrete mix from a supplier truck to the placement location via a delivery line. The pump machinery may be truck or trailer mounted.

Workplace procedures refers to the documented procedures specific to a workplace that set out the standards and required practices of that workplace.

A commercially competent concrete pump operator will be capable of consistently demonstrating the technical skills and knowledge expected by the concrete pumping industry; this includes meeting current regulatory and industry standards within commercially viable timeframes, in familiar and unfamiliar construction environments, without direct supervision.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

- Job Information

- Plan requirements - contacts, location, concrete mix, concrete supplier.

- On-site assessment.

- Safety

- Operational safety zones around pump machinery.

- Task analysis, hazard and risk identification, risk management techniques.

- Implementation of risk management and planned use of safety equipment and personal protective equipment.

- Temporary traffic management rules, signage requirements and operator responsibilities.

- Operational

- Machinery and equipment requirements.

- Wash out plan, surplus concrete, and environmental protection requirements.

- Pumping machinery component functions, operating capacity and manufacturer’s operating instructions and guidelines.

- Compliance and quality control

- Pump logbook responsibilities.

- Inspections and testing records including daily pre-use checks.

- Concrete pump Certificate of Compliance (CoC) requirements.

- Data plates and vehicle registration requirements.

- Pumping operation plan sign off responsibilities.

Rauemi | Resources

- Concrete Pumping Health and Safety Guidelines February 2013 Copyright © Concrete Pumping Association of New Zealand.  Available from www.worksafe.govt.nz.

- Programme guidance available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council. |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Concrete > Concrete Construction |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0048 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 29 February 2024 | N/A |
| Rā arotake ¦ Planned review date | 31 December 2028 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.