| 40117 | Connect enterprise network equipment and field devices using patch cables |
| --- | --- |

| Kaupae ¦ Level | 3 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard recognises the skills required to connect enterprise network equipment and field devices using patch cables. This skill standard aligns with the New Zealand Certificate in Data Cabling (Level 3) [Ref: 5057]. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Select and install patch cables to connect enterprise network equipment within cabinets or racks. | - Enterprise network equipment is connected with patch cables following a schedule or client requirements. |
|  | - Selected patch cables are fit for purpose. |
|  | - Patch cables are accurately labelled, and tidy cable management is implemented. |
| - Select and install patch cables to connect field devices to field outlets. | - Field devices are connected to field outlets with fit for purpose patch cables. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

Assessment evidence must be from workplaces where the scope of work provides the opportunity to demonstrate the skills and knowledge in environments containing enterprise network equipment, patch panels, field outlets, and a variety of field device types.

Enterprise network equipment may include commercial grade switches, routers, wireless access points (WAPs), Optical Network Terminals (ONTs), firewalls and other security or commercial network devices. It does not include all-in-one wireless/switch/routers typically used in homes.

Fit-for-purpose patch cables are the appropriate length, colour, and type to comply with industry standards and client requirements.

Assessment evidence for this standard must comply with industry standards, client requirements, and meet worksite health and safety requirements.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

Selecting and installing patch cables

- Understanding and following a patching schematic.

- Patching network equipment in cabinets or racks.

- Patching field devices to field outlets.

- Patch cable length, colour, and cable types.

Labelling and cable management

- Labelling patch cables.

- Patch cord cable management.

Rauemi | Resources

None

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Engineering and Technology > Telecommunications > Telecommunications - Service Delivery |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | CMR 0101 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 27 June 2024 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz if you wish to suggest changes to the content of this skill standard.