| 40195 | Install concrete or clay tile roof cladding systems |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 30 |
| Whāinga ¦ Purpose | This skill standard recognises the skills required to install concrete or clay tile roof cladding systems. This skill standard aligns with the New Zealand Certificate in Roofing (Installation) (Level 4) with strands in Concrete or Clay Tile Roof, Liquid Roof Membrane Systems, Metal Tile Roof, Profiled Metal Roof and Wall Cladding, Shingle or Slate Roof, Single Layer Roof Membrane Systems, and Torch On Roof Membrane Systems [Ref: 3512-2]. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Prepare for concrete or clay tile roof cladding system installation. | - Materials are confirmed to have required properties and dimensions to meet job specifications. |
|  | - Work area is prepared for safe installation, to optimise workflow and to meet industry standard requirements. |
|  | - Preparation of substrates and structure is confirmed to reflect plans and job specifications. |
| - Install concrete or clay tile roof cladding systems. | - Cladding system components are installed to plans and job specifications. |
|  | - Components are fixed using equipment and methods suitable for installation. |
|  | - Process and end-product are confirmed to meet industry standards, including confirmation of weathertightness. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard the candidate must be capable of consistently installing concrete or clay tile cladding systems for new installations and varying pitch to industry standards.

Industry standards must reflect roofing industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand. This standard may be assessed in the workplace or a simulated work environment.

Evidence for this standard must be:

- to current and relevant Legislation, Standards, and Codes (including safety),

- in an environmentally sustainable manner,

- within an acceptable timeframe,

- in different and unfamiliar contexts,

- with acceptable behaviours.

- Cladding systems refer to materials (underlays, claddings, and flashings) and methods that prevent the passage of water from entering the building. The method of installation may vary with the pitch.

Ngā momo whiwhinga | Grades available

Achieved.

Ihirangi waitohu | Indicative content

- Preparation of a work schedule.

- Development of job safety plans.

- Required types and standards of documentation.

- Battens and underlay requirements.

- Preparation for fixings, flashings, junctions and penetrations of the substrate and cladding system.

- The types and application process of fixings and hardware.

- Compliance requirements for the cladding systems.

- Loading tiles for installation.

- The application requirements and techniques for cladding systems.

- Cleaning up and removal of waste from work site.

- Client expectations and compliance requirements.

- Installation methods for cladding systems.

- Suitability of concrete and clay tile cladding.

- Managing change in roof direction.

Rauemi | Resources

Roofing programme guidance information available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Plumbing, Gasfitting and Drainlaying > Roofing |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0003 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 28 November 2024 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.