	Skill standard
	40205 version 1

	
	Page 2 of 2



	40205
	Install metal tile roof cladding systems


	Kaupae | Level
	4

	Whiwhinga | Credit
	30

	Whāinga | Purpose
	This skill standard recognises the skills required to install metal tile roof cladding systems.

This skill standard aligns with the New Zealand Certificate in Roofing (Installation) (Level 4) with strands in Concrete or Clay Tile Roof, Liquid Roof Membrane Systems, Metal Tile Roof, Profiled Metal Roof and Wall Cladding, Shingle or Slate Roof, Single Layer Roof Membrane Systems, and Torch On Roof Membrane Systems [Ref: 3512-2].


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Prepare for metal tile roof cladding installation.


	a. Materials are selected with the required properties and dimensions to meet job specifications.

	
	b. Work area is prepared for safe installation, to optimise workflow, and to meet industry standard requirements.

	
	c. Preparation of substrates and structure are confirmed to reflect plans and job specifications.

	2. Install metal tile roof cladding systems.
	a. Cladding system components are installed to plans and job specifications.

	3. 
	b. Components are fixed using equipment and methods suitable for installation.

	4. 
	c. Process and end-product are confirmed to meet industry standards, including confirmation of weathertightness.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:
To achieve this standard the candidate must be capable of installing metal tile roof cladding systems for new installations and varying pitch to industry standards.
Industry standards must reflect roofing industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand.
This standard may be assessed in the workplace or a simulated work environment.
Evidence for this standard must be:
· to current and relevant Legislation, Standards, and Codes (including safety),
· in an environmentally sustainable manner,
· within an acceptable timeframe,
· in different and unfamiliar contexts,
· with acceptable behaviours.
Cladding systems refer to materials (underlays, claddings, and flashings) and methods that prevent the passage of water from entering the building. The method of installation may vary with the pitch.
Ngā momo whiwhinga | Grades available

Achieved.
Ihirangi waitohu | Indicative content
· Preparation of a work schedule.
· Development of job safety plans.
· Required types and standards of documentation.
· Battens and underlay requirements.
· Preparation for fixings, flashings, junctions and penetrations of the substrate and cladding system.
· Types and application process of fixings and hardware.
· Compliance requirements for the cladding systems.
· The application requirements and techniques for cladding systems.
· Cleaning up and removal of waste from work site.
· Loading tiles for installation.

· Client expectations and compliance requirements.
· Installation methods for cladding systems.
· Suitability of metal tile cladding.
· Managing change in roof direction.
Rauemi | Resources
Roofing Programme Guidance information available from qualifications@waihangaararau.nz.
Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Planning and Construction > Plumbing, Gasfitting and Drainlaying > Roofing

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0003


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	28 November 2024
	N/A

	Kōrero whakakapinga | Replacement information
	This skill standard replaced unit standards 10812 and 25285.

	Rā arotake | Planned review date
	31 December 2029


Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.

	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



