	Skill standard
	40221 version 1

	
	Page 2 of 2



	40221
	Install flashing systems for single layer membrane roof cladding


	Kaupae | Level
	4

	Whiwhinga | Credit
	30

	Whāinga | Purpose
	This skill standard recognises the skills required to install flashing systems for single layer membrane roof cladding systems.

This skill standard aligns with the New Zealand Certificate in Roofing (Installation) (Level 4) with strands in Concrete or Clay Tile Roof, Liquid Roof Membrane Systems, Metal Tile Roof, Profiled Metal Roof and Wall Cladding, Shingle or Slate Roof, Single Layer Roof Membrane Systems, and Torch On Roof Membrane Systems [Ref:3512-2].


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Prepare flashings, penetrations, and accessory components for single layer membrane roof cladding systems.
	a. Materials are selected with the required properties and dimensions to meet job specifications.

	2. 
	b. Selected materials and equipment are prepared for installation and to optimise workflow.

	3. Install flashings, penetrations, and accessory components to single layer membrane roof cladding systems.
	a. Installation method is carried out in relation to drawings and job specifications, and requirements.

	4. 
	b. Flashings, penetration, and accessory components are fixed using equipment and methods suitable for the task.

	5. 
	c. Process and end-product are confirmed to meet installation requirements, including confirmation of weathertightness.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:
To achieve this standard the candidate must be capable of installing flashing systems for new single layer roof membrane installations and varying pitch to industry standards.
Industry standards must reflect roofing industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand.
This standard may be assessed in the workplace or a simulated work environment.
Evidence for this standard must be:
· to current and relevant Legislation, Standards, and Codes (including safety),
· in an environmentally sustainable manner,
· within an acceptable timeframe,
· in different and unfamiliar contexts,
· with acceptable behaviours.
Cladding systems refer to materials (underlays, claddings, and flashings) and methods that prevent the passage of water from entering the building. The method of installation may vary with the pitch.
Flashing systems refer to materials (flashings, penetrations, and accessories) used to provide a barrier between a change in surfaces or materials to seal a joint against weather penetration.
Ngā momo whiwhinga | Grades available

Achieved.
Ihirangi waitohu | Indicative content
· Uses, characteristics, advantages, and disadvantages of compatible materials.
· The range of flashing systems and their application.

· Preparation required for the installation of materials.
· Fixing techniques.

· Installation methods.

· Pre- and post-installation checks required to ensure integrity and weathertightness.

· Compliance requirements specific to individual flashing systems.
· Interpreting manufacturer’s requirements.

· Measuring and calculating material requirements.

Rauemi | Resources
Roofing Programme Guidance information available from qualifications@waihangaararau.nz.
Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Planning and Construction > Plumbing, Gasfitting and Drainlaying > Roofing

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0003


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	28 November 2024
	N/A

	Kōrero whakakapinga | Replacement information
	N/A

	Rā arotake | Planned review date
	31 December 2029


Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.

	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2024



