| 40235 | Install, test, and service pneumatic or electro-pneumatic equipment |  |
| --- | --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard recognises the skills required to install, test and service pneumatic and electro-pneumatic equipment used in an industrial environment. This skill standard may contribute to the New Zealand Certificate in Industrial Measurement and Control (Practice) (Level 4) [Ref: 2251]. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Install and commission pneumatic or electro-pneumatic equipment. | - The air supply is sized and conditioned to meet the equipment specification. |
|  | - Equipment is selected according to process conditions and accuracy requirements of the installation. |
|  | - Equipment is installed and commissioned to meet job and equipment specifications, and industry requirements. |
| - Test pneumatic or electro-pneumatic equipment. | - Test equipment is selected according to process conditions and accuracy requirements of the installation. |
|  | - Pneumatic or electro-pneumatic equipment is tested and adjusted as specified by the data sheet. |
|  | - Results of tests are accurately documented to meet compliance and quality requirements. |
| - Service pneumatic or electro-pneumatic equipment. | - Pneumatic or electro-pneumatic equipment is serviced to ensure correct and continued operation and to reflect manufacturer’s technical information. |
|  | - Service outcomes are accurately documented to meet compliance and quality management requirements. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

Evidence for this skill standard may include either discrete (ON/OFF) pneumatic systems, or electro-pneumatic systems such as 20-100 kPa control equipment.

To achieve this standard the candidate must be capable of consistently:

- performing the skill to the required industry standard

- repeating the skill on demand

- performing the skill without supervision

- applying the skill to other work.

Industry requirements refer to all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

- Safe work procedures: process isolation, loop isolation.

- Verification of air supply includes consideration of pressure regulation, dryness of air, entrained oil, & filtering of particles.

- Selection of test equipment according to accuracy and range of devices, for example, gauges, test set, electrical solenoid supply.

- Device failure modes and consequences.

- Selection of components and devices to meet job requirements.

- Commissioning of equipment.

- Installation of devices: tubing, piping, threading, mounting, sealants, isolation.

- Use of technical information for servicing equipment.

- Servicing of equipment to ensure continued operation using tools, materials, parts, techniques, specifications.

- Reports and documentation.

Rauemi | Resources

- Programme guidance available from qualifications@waihangaararau.nz.

- Manufacturers’ instructions and device specification sheets relevant to the systems and equipment used for the task.

- Electricity Act 1992

- Electricity (Safety) Regulations 2010

- All vocabulary will align to the IEC 60050 International Electrotechnical Vocabulary (IEV) available at IEC 60050 - International Electrotechnical Vocabulary.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Engineering and Technology > Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0003 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 30 January 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaced unit standard 2667. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.