| 40244 | Maintain final controlling elements in an industrial context |  |
| --- | --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 4 |
| Whāinga ¦ Purpose | This skill standard recognises the skills required to maintain final controlling elements in an industrial context. This skill standard may contribute to the New Zealand Certificate in Industrial Measurement and Control (Practice) (Level 4) [Ref: 2251]. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Maintain final controlling elements in an industrial context. | - Technical information is applied to service or repair element. |
|  | - Cause, type, and symptoms of typical errors are identified and explained. |
|  | - Element is serviced or repaired to ensure correct operation in accordance with industry requirements. |
|  | - Performance of element is verified using appropriate reference measurement standards. |
|  | - Results of acceptance testing are documented in accordance with industry requirements. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

Final Controlling Elements are used for closed-loop control in an industrial context.  Assessment must include two different final controlling elements such as:

- Control valves.

- Variable speed driven motors.

- Peristaltic dosing pumps.

- DC motors used for process control.

- Solid state power control.

To achieve this standard the candidate must be capable of consistently:

- performing the skill to the required industry standard

- repeating the skill on demand

- performing the skill without supervision

- applying the skill to other work.

Industry requirements refer to all asset owner requirements; manufacturers’ specifications; enterprise requirements which cover the documented workplace policies, procedures, specifications, and business requirements; and quality management requirements relevant to the workplace.

Ngā momo whiwhinga | Grades available

Achieved.

Ihirangi waitohu | Indicative content

- Safe work procedures and practices.

- Types of final controlling elements.

- Cause, type, and symptoms of typical errors in final controlling elements.

- Procedures to service and repair final controlling elements.

- Verification procedures.

Rauemi | Resources

- Programme guidance available from qualifications@waihangaararau.nz.

- Manufacturers’ instructions and device specification sheets relevant to the equipment used for the task.

- Electricity Act 1992.

- Electricity (Safety) Regulations 2010.

- All vocabulary will align to the IEC 60050 International Electrotechnical Vocabulary (IEV) available at IEC 60050 - International Electrotechnical Vocabulary.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Engineering and Technology > Industrial Measurement and Control > Industrial Measurement and Control - Maintenance |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0003 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 30 January 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.