| 40356 | Describe instruments used in the energy and chemical industry |
| --- | --- |

| Kaupae ¦ Level | 3 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard is intended for people working as boiler operators and energy and chemical process operators in an energy and chemical plant. People credited with this skill standard are able to describe instruments used in the energy and chemical industry. This skill standard can be used in the New Zealand Energy and Chemical qualifications at Levels 3 and above. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Describe instruments used in the energy and chemical industry. | - Describe pressure indicating instruments in terms of their design and operating concepts. |
|  | - Describe temperature indicating instruments in terms of their design and operating concepts. |
|  | - Describe level measurement instruments in terms of their design and operating concepts. |
|  | - Describe flow measurement instruments in terms of their design and operating concepts. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

Evidence of four (4) types of instrument is required for each assessment criterion.

Ngā momo whiwhinga | Grades available

Achieved.

Ihirangi waitohu | Indicative content

- Conversion of different unit measures of pressure, such as -– pounds per square inch, bar absolute, bar gauge, kilopascal, millimetres of water, atmospheres.

- Conversion of different unit measures of temperature.

Rauemi | Resources

None.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Manufacturing > Energy and Chemical Plant > Monitoring of Energy and Chemical Plant |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0079 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 30 January 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaced unit standard 28157. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council at qualifications@hangaarorau.nz to suggest changes to the content of this skill standard.