| 40361 | Operate control systems in an energy and chemical plant |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 15 |
| Whāinga ¦ Purpose | This skill standard is intended for people working as boiler operators and energy and chemical plant process operators in an energy and chemical plant. People credited with this skill standard are able to: describe alarms and event management; operate control systems; and interpret process data in an energy and chemical plant. This skill standard can be used in the New Zealand Energy and Chemical qualifications at Levels 4 and above. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Describe alarms and event management in an energy and chemical plant. | - Interpret alarm screens in terms of their implications. |
|  | - Identify alarms in terms of priorities. |
|  | - Describe alarms in terms of their consequences, and subsequent actions required in terms of manufacturer’s recommendations. |
| - Operate control systems in an energy and chemical plant. | - Carry out navigation around screens in accordance with organisational requirements. |
|  | - Verify current plant status in accordance with organisational requirements. |
|  | - Describe controller modes to ensure the effective control of the process in accordance with organisational requirements. |
|  | - Demonstrate control system adjustments in accordance with organisational requirements. |
|  | - Operate and monitor plant sequences in accordance with organisational requirements. |
| - Interpret process data in an energy and chemical plant. | - Access and interpret data to assist with problem solving, and optimisation or planning in accordance with organisational requirements. |
|  | - Describe the steps to be taken in a process investigation in accordance with organisational requirements. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

- evidence for the practical components of this skill standard must be supplied from the workplace.

- 1a: evidence of three (3) is required. These may include – active, new, acknowledged, suppressed, reset.

- 1b: evidence of three (3) is required. These may include – hierarchy of alarms, advisory, warning, high, critical, shutdown, alarm inhibits and/or overrides.

- 2a: evidence of two (2) is required. These may include – overview, dropdown menus, ‘quick’ buttons, short cuts, toolbar navigation.

- 2c: evidence of four (4) is required. These may include – auto, manual, cascade, remote, local, ratio, on/off, enable/disable, inhibit.

- 2d: evidence of two (2) is required. These may include – set points, controller limits, outputs, control modes

- 2e: evidence of three (3) is required. These may include – automatic plant sequence, sequence tracking, auto/manual plant start/stop, plant changeover, overrides.

- 3a: evidence of two (2) is required. These may include – current trends, historical trends, graphics, reports, logic diagrams, alarm lists, operator logs, sequence of events logs.

Definitions

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.

Organisational requirements – documented policies and procedures. These may include – equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions. This includes all regulatory and legislative obligations that apply to the plant.

Plant – the operational unit, equipment and/or workplace at which the person is working.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

- Control system terminology and meanings, such as – programmable logic controller (PLC), human machine interface (HMI), distributed control system (DCS), supervisory control and data acquisition (SCADA), operator login, input, output, analogue, digital.

Rauemi | Resources

Legislation relevant to this unit standard includes but is not limited to:

- Health and Safety at Work Act 2015;

- Hazardous Substances and New Organisms Act 1996;

- Resource Management Act 1991; 
and any subsequent amendments.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Manufacturing > Energy and Chemical Plant > Monitoring of Energy and Chemical Plant |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0079 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 30 January 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaced unit standard 32030. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council at qualifications@hangaarorau.nz to suggest changes to the content of this skill standard.