| 40380 | Monitor equipment and systems used for steam generation in boilers |
| --- | --- |

| Kaupae ¦ Level | 3 |
| --- | --- |
| Whiwhinga ¦ Credit | 8 |
| Whāinga ¦ Purpose | This skill standard is intended for people working as boiler operators in an energy and chemical plant. People credited with this skill standard are able to: identify steam generation equipment and fittings; describe combustion air equipment, steam generation fuel systems and burner equipment, and feedwater equipment and lay-up, in boilers; and monitor boiler water condition. This skill standard can be used in the New Zealand Energy and Chemical qualifications at Level 3 and above. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Identify steam generation equipment and fittings in boilers. | - Describe boilers in terms of design and operating principles. |
|  | - Identify the components of steam generating equipment in terms of function. |
|  | - Describe boiler mountings in terms of their purpose. |
|  | - Describe boiler instrumentation in terms of boiler operations. |
|  | - Identify boiler gauge glass problems and describe solutions to these problems. |
| - Describe combustion air equipment in boilers. | - Describe equipment used to provide combustion air to boilers in terms of its mechanical and operating principles. |
|  | - Describe equipment used to control combustion in terms of its operating principles. |
| - Describe steam generation fuel systems and burner equipment in boilers. | - Describe fuels used for steam generation in terms of their handling characteristics, use, and requirements for complete combustion. |
|  | - Describe fuel systems and fuel safety systems in terms of function. |
|  | - Describe burner equipment and configuration in terms of mechanical operating principles. |
| - Describe feedwater equipment and lay-up in boilers. | - Identify site-specific water treatment systems and describe their purpose in terms of their effect on the quality of the feedwater, safety and maintenance of supply. |
|  | - Identify chemicals used in boiler feedwater systems and describe their purpose in terms of their effect on the quality of the feedwater. |
|  | - Describe the potential hazards associated with boiler water treatment chemicals in terms of their effect on personnel, plant and the environment, consistent with Safety Data Sheet details. |
|  | - Describe feedwater pump type in terms of start-up procedures. |
|  | - Describe the consequences of incorrect water treatment in terms of the effect on safe operation of the boiler. |
|  | - Describe blowdown equipment in terms of type and function. |
|  | - Describe condensate return monitoring and diversion equipment in terms of purpose, economic and operating problems and function. |
|  | - Describe impurities in feedwater in terms of their source and effects on the boiler, feedwater system, condensate system, and steam quality. |
|  | - Describe boiler feedwater tests in terms of the impact of out of specification test results on the boiler. |
|  | - Describe wet and dry boiler lay-up in terms of purpose and use. |
| - Monitor boiler water condition. | - Collect boiler water samples in accordance with organisational requirements. |
|  | - Log and analyse obtained test result of boiler water samples against specification. |
|  | - Identify deviations and take corrective action. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

- evidence for the practical components of this skill standard must be supplied from the workplace.

- evidence for all outcomes must be presented in accordance with organisational requirements.

- 1a: boilers include but are not limited to – water tube, shell or fire tube, combination fire tube-water tube, once-through coil, electrode boiler, fluidised bed boiler.

- 1b: if using Water Tube boiler: Water circulation – convection/natural circulation, forced circulation, Steam Drum, Downcomer, Mud drum (Lower header), Riser (Steam Generation tubes), density, temperature,

- 1b: if using Fire Tube Boiler:  Water circulation – convection/natural circulation, forced circulation, Fire tube, Gas pass, density, temperature,

- 1c: boiler mountings include but are not limited to – safety valves, feed check valve, blowdown valve, air vent, main stop valve, access doors, steam limiting valve, superheater steam vent

- 1d: instrumentation includes but is not limited to – pressure gauge, gauge glasses, operational controls, safety controls, level, pressure, flow, temperature transmitters, feedwater flow, boiler pressure, drum level (single and 3-element control).

- 1e: problems include but are not limited to – leakage, blockage, breakage, false readings.

- 2a: combustion control equipment includes but is not limited to – primary air, secondary air, forced draught, induced draught, tertiary air.

- 2b: equipment includes but is not limited to – fans, dampers, registers, air heaters.

- 3a: fuels include but are not limited to – gas, liquid, solid, biomass, biogas, bioliquids, hydrogen, site specific fuels.

- 3b: fuel systems include but are not limited to – gas, liquid, solid, biomass, biogas, bioliquids, hydrogen.

- 4a: equipment includes but is not limited to – primary treatment, secondary treatment, boiler feedwater, boiler feedwater storage, tank deaerator, pump, feed check valve, isolating valves, pipework, condensate system.

- 4e: includes – scale, corrosion, foaming, carry over.

- 4f: blowdown equipment includes but is not limited to – bottom blowdown, continuous, blowdown control.

- 4g: evidence of at least two (2) benefits and two (2) hazards is required.

- 4h: impurities include but are not limited to – dissolved solids, dissolved gases, suspended solids.4i: tests include but are not limited to – hardness, total dissolved solids, pH, alkalinity, scale inhibitor reserve, oxygen scavenger reserve.

Definitions:

Boiler means a device – (i) Most of which is an arrangement of pressure containment parts; and (ii) The purpose of which is to generate steam (A) By the use of a directly applied combustion process; or (B) By the application of heated gases; and (C) Includes any of the following: (i) Boiler piping: (ii) Combustion equipment: (iii) Combustion management systems: (iv) Controls: (v) Economisers: (vi) Fans: (vii) Feed and circulating pumps: (viii) Pressure fittings: (ix) Reheaters: (x) Superheaters: (xi) Supports: (xii) Water level management systems; but does not include a hot water boiler.

Organisational requirements – documented policies and procedures or other directions provided to staff for boiler start up, operation, and shut down.  These may include: manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; legislative requirements; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

None

Rauemi | Resources

Legislation and regulations relevant to this unit standard include but are not limited to:

- Health and Safety at Work Act 2015;

- Health and Safety at Work (Hazardous Substances) regulations 2017 (HSWA);

- Health and Safety in Employment (Pressure equipment, cranes and passenger ropeways) Regulations 1999;

- Resource Management Act 1991;

and any subsequent amendments.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Hanga-Aro-Rau Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Manufacturing > Energy and Chemical Plant > Operation of Energy and Chemical Plant |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0079 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 27 March 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaced unit standard 21462. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Hanga-Aro-Rau Workforce Development Council at qualifications@hangaarorau.nz to suggest changes to the content of this skill standard.