| 40436 | Operate geothermal binary plant in the energy and chemical industry |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 20 |
| Whāinga ¦ Purpose | This skill standard is intended for people working as energy and chemical process operators in an energy and chemical plant. People credited with this skill standard are able to: describe geothermal binary plant processes and equipment used in the energy and chemical industry; and identify deviations from normal operating parameters. They are also able to operate a geothermal binary plant in the energy and chemical industry. This skill standard can be used in the New Zealand Energy and Chemical qualifications at Level 4 and above. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Describe geothermal binary plant processes and equipment used in the energy and chemical industry. | - Describe a geothermal binary plant in terms of design, layout and operational principles. |
|  | - Describe the physical properties of motive fluid in terms of their relationship to its use. |
|  | - Describe safe handling procedures for motive fluid and the appropriate response to an accidental release of gases. |
|  | - Identify geothermal binary plant equipment in terms of function and describe its operating concepts. |
|  | - Identify binary turbine components in terms of design and describe their operating concepts. |
|  | - Identify geothermal binary plant auxiliary equipment and systems in terms of design and describe their operating concepts. |
|  | - Describe the geothermal binary plant in terms of control systems used. |
|  | - Describe the geothermal binary plant in terms of protection systems. |
| - Identify deviations from normal operating parameters. | - Identify and respond to minor deviations from normal operating parameters in the geothermal binary plant, considering cause and effect. |
|  | - Identify deviations that may require an emergency shutdown and describe binary plant emergency response procedures. |
|  | - Describe the binary plant in terms of manual emergency trip methods. |
| - Operate a geothermal binary plant in the energy and chemical industry. | - Locate binary plant equipment in accordance with the site-specific asset tagging system and organisational requirements. |
|  | - Operate geothermal binary plant equipment using safe work practices in accordance with organisational requirements. |
|  | - Demonstrate safe handling techniques when working with the motive fluid in accordance with organisational requirements. |
|  | - Start up and shut down the geothermal binary plant in accordance with organisational requirements. |
|  | - Identify plant operational problems and take corrective actions in accordance with organisational requirements. |
|  | - Complete all plant documentation related to the process and equipment operation in accordance with organisational requirements. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications

- evidence for the practical components of this skill standard must be supplied from the workplace.

- 1a: includes but is not limited to – equipment, flows, Rankin cycle, motive fluid system, heating medium system.

- 1b: physical properties include but are not limited to – vaporising temperature, lower explosive limit, upper explosive limit, specific gravity, odour.

- 1d: equipment includes but is not limited to – heating medium system, pre-heaters, vaporiser, separator, recuperator, condenser.

- 1e: components include but are not limited to – rotor, nozzles, governor, governor valves, emergency stop valves, glands, seal systems, bearings, motive fluid inlet and outlet.

- 1f: includes but is not limited to – lube oil, seal oil, seal cooling, seals, fans, purging systems, feed pumps, condensate pumps.

- 1g: control systems include but are not limited to – pressure control, level control, power output control, heat medium control; evidence is required of one (1) control loop for each of the above.

- 1h: protection systems include but are not limited to – overspeed, vibration, oil pressure, seal and lube oil pressure, control air pressure; evidence is required of one (1) control loop for each of the above.

- 2a: evidence of two (2) deviations from normal operating parameters is required.

- 2b: evidence of two (2) deviations that may require an emergency shutdown.

Definitions:

Energy and chemical plant may be in – petrochemical, agri-nutrient, power generation, dairy processing, meat processing, and wood fibre manufacturing, or other plants that operate with a combination of high temperatures, pressures, steam and/or chemicals in gas, liquid or solid form.

Organisational requirements – documented policies and procedures. These may include: equipment manufacturers’ procedures; plant procedures; suppliers’ instructions; site signage; codes of practice; company health and safety plans; on site briefings; and supervisor’s instructions. This includes all regulatory and legislative obligations that apply to the plant.

Plant – the operational unit, equipment and/or workplace at which the person is working.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

- Geothermal binary plant operating parameters, such as – volumes, temperatures, flow rates, contaminants, time.

- Process safety requirements for a geothermal binary plant, such as – major hazard facility requirements, plant safety case.

Rauemi | Resources

Legislation relevant to this skill standard includes but is not limited to:

- Health and Safety at Work Act 2015;

- Hazardous Substances and New Organisms Act 1996;

- Resource Management Act 1991;

- and any subsequent amendments.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Manufacturing > Energy and Chemical Plant > Operation of Energy and Chemical Plant |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0079 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 24 April 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaced unit standard 17609. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Hanga-Aro-Rau Manufacturing, Engineering and Logistics Workforce Development Council at qualifications@hangaarorau.nz to suggest changes to the content of this skill standard.