| # 40473 | # Determine the testing requirements of portable generators |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 2 |
| Whāinga ¦ Purpose | This skill standard is intended for people already working in the outdoor power equipment industry. People credited with this skill standard can explain how to test portable generators. This standard can be used in programmes incorporating the use of outdoor power equipment. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Determine the testing requirements of portable generators | - Describe the safety limitations of testing portable generators in accordance with regulations. |
|  | - Explain how portable generators are tested. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications

The evidence presented for assessment against this skill standard must be consistent with safe working procedures and be in accordance with applicable service information.

Competency under this skill standard does not entitle the learner to legally perform prescribed electrical work.  Any prescribed electrical work must be undertaken by a person who has been registered and licensed under the Electricity Act 1992.  Prescribed electrical work is defined in Schedule 1 of the Electricity (Safety) Regulations 2010.

Tests must include:

- generator load

- hertz

- voltage

- engine speed

- Residual Current Devices (RCDs).

Definitions

Service information refers to technical information for a vehicle, machine, or product detailing operation; installation and servicing procedures; manufacturer instructions; technical terms and descriptions; and detailed illustrations.

Workplace procedures refer to organisation policies and procedures that are documented in memo, electronic, or manual format and available in the workplace. They may include but are not limited to – standard operating procedures, site specific procedures, site safety procedures, equipment operating procedures, quality assurance procedures, product quality specifications, manufacturer’s requirements, references, approved codes of practice, housekeeping standards, environmental considerations, on-site briefings, supervisor’s instructions, and procedures to comply with legislative and local body requirements relevant to the automotive industry.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

N/A

Rauemi | Resources

Legislation and resources relevant to this skill standard include:

- Health and Safety at Work Act 2015.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Hanga-Aro-Rau Engineering, Manufacturing and Logistics Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Engineering and Technology > Motor Industry > Automotive Electrical and Electronics |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0014 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 27 March 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | This skill standard replaces unit standard 31895. |  |  |
| Rā arotake ¦ Planned review date | 31 December 2029 |  |  |

Please contact Hanga-Aro-Rau Engineering, Manufacturing and Logistics Workforce Development Council at qualifications@hangaarorau.nz to suggest changes to this skill standard.