| 40810 | Determine pre-cast concrete wall construction requirements |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard is for people intending to complete qualifications and credentials in the carpentry trades. People with this skill standard have the skills to determine pre-cast concrete wall construction requirements. This skill standard may contribute to New Zealand qualifications designed for construction trades. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - 1. Determine pre-cast concrete wall construction requirements. | - Types, properties and characteristics of pre-cast concrete wall systems are determined. |
|  | - Requirements for the placement of precast concrete walls are determined from plans and specifications. |
|  | - Requirements to erect and prop precast concrete walls and other prebuilt panels are determined. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard the candidate must be capable of determining pre-cast concrete wall construction requirements to industry standards.

Industry standards must reflect industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

This standard must be assessed in the workplace.

Evidence for this standard must be demonstrated:

- to current and relevant Legislation, Standards, and Codes (including safety),

- in an environmentally sustainable manner,

- within an acceptable timeframe,

- in different and unfamiliar contexts,

- with acceptable behaviours.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

Wall structures and their composition

- Types of wall structures and their makeup.

- Solid walls: Concrete and block.

- Panelled walls, structural steel, infill framing, and fire systems.

Prefabricated beams and lintels

- Types and applications of prefabricated structural elements.

- Materials, finishes, and design considerations for beams and lintels.

Engineering and design requirements

- Overview of design requirements and compliance.

- Load-bearing considerations, fire resistance, and integration with other building systems.

Tilt slab walls

- Key processes and requirements.

- Lifting and handling techniques, including crane use and safety considerations.

- Fixing tilt slab walls in place, including alignment and connection methods.

Calculating quantities

- Estimating material requirements for pre-cast concrete walls.

- Methods for calculating volumes, lengths, and numbers of components.

Rauemi | Resources

Programme Guidance information available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Construction Trades > Carpentry |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0120 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 28 August 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2030 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.