| 40811 | Place and finish concrete for minor concrete works |
| --- | --- |

| Kaupae ¦ Level | 4 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard is for people intending to complete qualifications and credentials in the carpentry trades. People with this skill standard have the skills to place and finish concrete for minor concrete works. This skill standard may contribute to New Zealand qualifications designed for construction trades. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Plan and carry out preparation for concrete placement. | - Material and equipment requirements for concrete placement are determined from plans and specifications. |
|  | - Site preparations for concrete placement are checked and confirmed to meet plans and specifications. |
| - Carry out concrete placement. | - Concrete is placed and confirmed to meet plans and specifications. |
|  | - Position and condition of reinforcement or other cast-in items are checked and maintained throughout the concrete placing process. |
| - Apply finishing techniques to concrete surfaces. | - Concrete surface is finished according to plans and specifications. |
|  | - Curing processes are applied to finished concrete surfaces. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard the candidate must be capable of placing and finishing concrete for minor concrete works to industry standards.

Evidence of minor concrete work tasks must include one of paths, service slabs or pads and one of pile or post foundations, footing, or similar-sized projects.

Industry standards must reflect industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

Plans and specifications can include working drawings, plan specifications, manufacturer specifications, installation instructions and work, demolition and project plans.

This standard must be assessed in the workplace.

Evidence for this standard must be demonstrated:

- to current and relevant Legislation, Standards, and Codes (including safety),

- in an environmentally sustainable manner,

- within an acceptable timeframe,

- in different and unfamiliar contexts,

- with acceptable behaviours.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

Materials and ingredients of concrete

- Ingredients of fresh concrete, additives (e.g. accelerators, colour, fibre reinforcing).

Site preparation for placement

- Formwork setup, surface preparation, environmental protections for run-off.

Placement and finishing techniques

- Spreading, compacting, vibrating, levelling, screeding, floating, and finishing.

- Use of tools, power floats, generators, vibrators.

Sequence and timing

- Continuity of supply and proper sequencing for compaction and screeding.

Environmental considerations

- Managing concrete run-off and dealing with waste.

Surface treatments

- Use of surface retarders, mechanical and manual tooling, and protection methods during plastic and cured states.

Curing methods

- Techniques to prevent cracking, such as ponding, covering, and time treatments.

Advanced concrete testing

- Slump and spread tests, and ensuring compliance with project specifications.

Specialty components

- Installation of rebates, starters, nibs, and stitch joints.

- Cutting joints to control shrinkage.

Rauemi | Resources

Programme Guidance information available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Construction Trades > Carpentry |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0120 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 28 August 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2030 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.