| 40815 | Carry out interior joinery installation tasks |
| --- | --- |

| Kaupae ¦ Level | 3 |
| --- | --- |
| Whiwhinga ¦ Credit | 5 |
| Whāinga ¦ Purpose | This skill standard is for people intending to complete qualifications and credentials in the carpentry trades. People with this skill standard have the skills to carry out interior joinery installation tasks under limited supervision. This skill standard may contribute to New Zealand qualifications designed for construction trades. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Carry out interior joinery installation tasks. | - The different types, properties and installation requirements of interior joinery doors and cabinetry units are identified. |
|  | - Preparation requirements for installation of interior joinery doors and cabinetry units are identified from plans and specifications. |
|  | - Installation requirements and techniques for interior joinery doors and cabinetry units are identified from plans and specifications. |
| - Carry out installation tasks for interior joinery doors and cabinetry units. | - Interior doors are installed to reflect plans and specifications. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard the candidate must be capable of identifying and carrying out installation tasks for interior joinery doors and cabinetry units under limited supervision to industry standards.

Industry standards must reflect industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

Plans and specifications can include working drawings, plan specifications, manufacturer specifications, installation instructions and work, demolition and project plans.

Under limited supervision refers to candidates carrying out the requirements of this skill standard with basic guidance and indirect supervision from a suitably skilled tradesperson. They are expected to source some information independently from plans, specifications, or relevant New Zealand Standards.

This standard must be assessed in the workplace.

Evidence for this standard must be demonstrated:

- to current and relevant Legislation, Standards, and Codes (including safety),

- in an environmentally sustainable manner,

- within an acceptable timeframe,

- with acceptable behaviours.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

Types and properties of interior doors

- Types of doors: solid core, double, hollow core (rail and honeycomb), sliding, cavity slider, aluminium doors, fire-rated doors, sound-control doors.

- Properties of doors: standard sizes, durability, finishes, sound-control ratings.

Preparing for installation of interior doors

- Confirm delivery times and site access.

- Store and protect materials appropriately on-site.

- Select the correct door for the opening.

- Determine the opening direction.

- Check for correct fixing height and framing requirements.

- Accounting for floor coverings during installation planning.

Installation requirements for interior doors

- Sequence and techniques.

- Use packers for levelling and plumbing.

- Confirm framing requirements, especially for cavity sliders.

- Follow the prescribed installation sequence to ensure alignment and functionality.

Installation requirements for cabinets

- Types of cabinets: bathroom cabinets, wardrobes, screens, kitchen cabinets.

- Perform pre-installation checks (e.g. underlying framing, service locations).

- Determine starting heights and levels.

- Following the correct installation sequence.

- Fix and level cabinets.

- Install toe kicks, panels and benchtops.

- Handle and protect materials during installation.

Rauemi | Resources

Programme Guidance information available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Construction Trades > Carpentry |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0120 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 28 August 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2030 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.