| 40821 | Carry out internal finishing trim tasks |
| --- | --- |

| Kaupae ¦ Level | 3 |
| --- | --- |
| Whiwhinga ¦ Credit | 3 |
| Whāinga ¦ Purpose | This skill standard is for people intending to complete qualifications and credentials in the carpentry trades. People with this skill standard have the skills to carry out internal finishing trim tasks under limited supervision. This skill standard may contribute to New Zealand qualifications designed for construction trades. |

Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria

| Hua o te ako ¦ Learning outcomes | Paearu aromatawai ¦ Assessment criteria |
| --- | --- |
| - Carry out internal finishing trim tasks. | - The types, profiles and materials of finishing trims used in construction are identified. |
|  | - Requirements for fitting and fixing interior finishing trims are identified. |
| - Carry out internal finishing trim installation | - Measuring and marking requirements are carried out. |
|  | - Finishing trims are cut and fixed. |

Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard the candidate must be capable of identifying and carrying out finishing trim installation requirements for scotia, skirting and architraves under limited supervision to industry standards.

Industry standards must reflect industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

Under limited supervision refers to candidates carrying out the requirements of this skill standard with basic guidance and indirect supervision from a suitably skilled tradesperson. They are expected to source some information independently from plans, specifications, or relevant New Zealand Standards.

This standard may be assessed in the workplace or a simulated work environment.

Evidence for this standard must be demonstrated:

- to current and relevant Legislation, Standards, and Codes (including safety),

- in an environmentally sustainable manner,

- within an acceptable timeframe,

- with acceptable behaviours.

Ngā momo whiwhinga | Grades available

Achieved

Ihirangi waitohu | Indicative content

Types of finishing trims:

- Common trims: architrave, skirting, scotia, cornice.

- Decorative trims: mouldings (e.g., picture rail, bead, capping, dado, apron).

Properties of finishing trims:

- Materials: timber, MDF, plaster.

- Grades: clear timber and finger-jointed timbers.

- Characteristics: size, profiles, finish, durability, moisture resistance.

- Paintability and stainability.

- Compliance requirements: alignment with industry standards and manufacturer specifications.

Fixings:

- Types of fixings used: nails, brads, adhesives.

- Appropriate fixing selection based on material and application.

Joints:

- Types of joints used in trim connections: running mitre, external/internal mitre.

- Face/edge mitre and butt.

- Scribed/false internal joints.

Reading and interpreting specifications:

- Identifying the correct trim based on design requirements.

- Understanding manufacturer guidelines for selection and handling.

Rauemi | Resources

Programme Guidance information available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information

| Ngā rōpū whakatau-paerewa ¦ Standard Setting Body | Waihanga Ara Rau Construction and Infrastructure Workforce Development Council |
| --- | --- |
| Whakaritenga Rārangi Paetae Aromatawai ¦ DASS classification | Planning and Construction > Construction Trades > Carpentry |
| Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga ¦ CMR | 0120 |

| Hātepe ¦ Process | Putanga ¦ Version | Rā whakaputa ¦ Review Date | Rā whakamutunga mō te aromatawai ¦ Last date for assessment |
| --- | --- | --- | --- |
| Rēhitatanga ¦ Registration | 1 | 28 August 2025 | N/A |
| Kōrero whakakapinga ¦ Replacement information | N/A |  |  |
| Rā arotake ¦ Planned review date | 31 December 2030 |  |  |

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.