	Skill standard
	40912 version 1

	
	Page 2 of 2



	40912
	Maintain and repair streetscape paving


	Kaupae | Level
	4

	Whiwhinga | Credit
	15

	Whāinga | Purpose
	This skill standard is intended for people working in or entering the streetscape paving trade.

People with this skill standard have the skills to maintain and repair streetscape paving.

This skill standard aligns with the New Zealand Certificate in Streetscape Paving (Level 4) [Ref: 5456] and may also contribute to other construction and infrastructure qualifications.


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Perform routine maintenance on streetscape paving areas.
	a. Organic matter, efflorescence, and debris are removed to maintain appearance and safety.

	2. 
	b. Paved areas are cleaned using eco-friendly methods to maintain integrity and permeability.

	3. 
	c. Sweepers, power washers, and appropriate cleaning agents are used to maintain the condition and performance of the paved area.

	4. Repair and restore streetscape paving.
	a. Damaged, loose, or uneven pavers are identified and replaced or reset to restore paving.

	5. 
	b. Trip hazards are remediated and evenness or permeability is restored.

	6. 
	c. Jointing materials are replenished and edge restraints are checked for integrity.

	7. Contribute to long-term maintenance planning for streetscape paving.
	a. Maintenance schedules and observations are documented accurately to support ongoing maintenance decisions.

	8. 
	b. Sustainable and climate-resilient practices are applied in long term maintenance planning.

	9. 
	c. The effectiveness of sealing and surface protection methods is evaluated.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard, the candidate must maintain and repair streetscape paving in line with industry standards.

Industry standards must reflect best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.
Evidence for this standard must be demonstrated:

· to current and relevant legislation, standards and codes (including safety),

· in an environmentally sustainable manner,

· within an acceptable timeframe,

· in different and unfamiliar contexts,

· with acceptable behaviours.

Definition
Streetscape paving refers to the use of different paving materials in public spaces such as sidewalks, plazas, pedestrian zones, parks and road edges. The focus is on durability, safety, aesthetics and functionality to make these areas accessible and attractive.

Ngā momo whiwhinga | Grades available
Achieved.
Ihirangi waitohu | Indicative content

· Industry standards.
· Routine cleaning methods: sweeping, water blasting, steam cleaning.
· Organic growth and efflorescence removal techniques.
· Maintenance of permeable paving: unclogging joints, restoring infiltration.
· Replacing or resetting pavers: methods, tools, and safety.
· Joint sand top-up and edge restraint checks.
· Environmentally safe cleaning agents and tools (e.g. propane weed burner).
· Sealing options: solvent-based, water-based, penetrating vs. film-forming.
· Impacts of UV, moisture, and traffic on paver durability.
· Maintenance record-keeping and scheduling.
· Adapting maintenance practices for different climates and uses.
Rauemi | Resources

Programme guidance available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Engineering and Technology > Infrastructure Works > Generic Infrastructure Works

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0120


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	30 October 2025
	N/A

	Kōrero whakakapinga | Replacement information 
	N/A

	Rā arotake | Planned review date
	31 December 2030


Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.
	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



