	Skill standard
	40913 version 1

	
	Page 2 of 2



	40913
	Test streetscape paving for quality and durability


	Kaupae | Level
	4

	Whiwhinga | Credit
	15

	Whāinga | Purpose
	This skill standard is intended for people working in or entering the streetscape paving trade.

People with this skill standard have the skills to test streetscape paving for quality and durability.
This skill standard aligns with the New Zealand Certificate in Streetscape Paving (Level 4) [Ref: 5456] and may also contribute to other construction and infrastructure qualifications.


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Test workmanship of streetscape paving.
	a. Levels, alignment, falls, and joint widths are checked using suitable tools.

	2. 
	b. Inspection points are identified and checked systematically to ensure compliance with quality and safety standards.

	3. 
	c. Results are compared to required tolerances and specifications.

	4. Test performance and durability of streetscape paving.
	a. Test methods are used to check compaction, drainage function, and material suitability.

	5. 
	b. Edge restraints, jointing and cut pavers are examined for consistency, durability and visual quality.

	6. 
	c. Surface water drainage is confirmed to occur properly without pooling.

	7. Respond to quality issues in streetscape paving.
	a. Issues affecting finish, quality or durability are identified and reported.

	8. 
	b. Appropriate corrective measures are suggested in line with industry standards.

	9. 
	c. Remedial work is monitored and its effectiveness confirmed.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:

To achieve this standard, the candidate must test streetscape paving for quality and durability in line with industry standards.

Industry standards must reflect best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

Evidence for this standard must be demonstrated:

· to current and relevant legislation, standards and codes (including safety),

· in an environmentally sustainable manner,

· within an acceptable timeframe,

· in different and unfamiliar contexts,

· with acceptable behaviours.

Definition
Streetscape paving refers to the use of different paving materials in public spaces such as sidewalks, plazas, pedestrian zones, parks and road edges. The focus is on durability, safety, aesthetics and functionality to make these areas accessible and attractive.

Ngā momo whiwhinga | Grades available
Achieved.
Ihirangi waitohu | Indicative content

· Industry standards.

· Tools and techniques for checking surface level, fall, and straightness.
· Tolerance guidelines for different paving systems.
· Use of lasers, stringlines, spirit levels, and straightedges.
· Inspection of drainage function and surface water behaviour.
· Issues may include efflorescence, movement, staining, sand loss, cracking, joint erosion or surface unevenness.
· Joint controls and their role in maintaining paving durability, appearance, and function.

· Basic testing for bedding and compaction quality.
· Documentation methods for quality assurance (QA) results and site reporting.
· Communication of QA concerns and solutions.
· Methods for cutting pavers.
Rauemi | Resources

Programme guidance available from qualifications@waihangaararau.nz.

Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Waihanga Ara Rau Construction and Infrastructure Workforce Development Council

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Engineering and Technology > Infrastructure Works > Generic Infrastructure Works

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0120


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	30 October 2025
	N/A

	Kōrero whakakapinga | Replacement information 
	N/A

	Rā arotake | Planned review date
	31 December 2030


Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council at qualifications@waihangaararau.nz to suggest changes to the content of this skill standard.
	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



