	Skill standard
	40945 version 1

	
	Page 2 of 2



	40945
	Conduct screening using explosive trace detection in an aviation workplace


	Kaupae | Level
	4

	Whiwhinga | Credit
	5

	Whāinga | Purpose
	People credited with this skill standard are able to conduct screening using explosive trace detection in an aviation workplace in support of aviation security and safety, contributing to airport security and operational effectiveness.


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Conduct screening using explosive trace detection in an aviation workplace.
	a. Set up, check, and operate explosive trace detection (ETD) equipment in an aviation workplace.

	2. 
	b. Conduct ETD sampling process in an aviation workplace.

	3. 
	c. Record ETD analysis information for evidential purposes in an aviation workplace.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:
Assessments must be conducted in an active or simulated airport environment to ensure practical application to reflect the standards of an aviation workplace.

Evidence presented for assessment against this skill standard must be in accordance with enterprise procedures.

Definition:

Reference to enterprise procedures means that all activities must comply with the requirements contained in the current airport exposition, current airport company manuals and procedures, where applicable, and any relevant legislative and/or regulatory requirements, which may include but are not limited to: Civil Aviation Act 2023, relevant Civil Aviation Rules, Aviation Crimes Act 1972, Aviation Security Service Policies and Procedures, New Zealand Defence Force (NZDF) Policy.

Ngā momo whiwhinga | Grades available
Achieved

Ihirangi waitohu | Indicative content

Technical skills in ETD equipment operation
· Setting up, calibrating, and operating ETD equipment according to enterprise procedures.
· Adherence to occupational health and safety guidelines during operations.
Sampling and screening processes

· Performing ETD sampling to screen individuals and a range of articles (e.g., baggage, goods, machinery) in compliance with legislative and enterprise requirements.
· Analysing samples to differentiate between positive and negative results and responding appropriately to positive detections.

Data recording and evidence management

· Maintaining accurate records of equipment checks, calibration results, sampling processes, and detection outcomes.
· Reporting and saving alarms and calibrations for evidential purposes.

Rauemi | Resources

CAA Advisory Circular AC140-1 Aviation Security Service Organisations – Certification
Enterprise procedures.
Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Ringa Hora Services Workforce Development Council

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Service Sector > Aviation > Airport Operations

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0112


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	27 November 2025
	N/A

	Kōrero whakakapinga | Replacement information
	This skill standard replaced unit standard 29000.

	Rā arotake | Planned review date
	31 December 2030


Please contact Ringa Hora Services Workforce Development Council qualifications@ringahora.nz to suggest changes to the content of this skill standard.
	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2025



