	Skill standard
	41147 version 1

	
	Page 2 of 2



	41147
	Install reinforcing of moderate complexity for concrete structures 


	Kaupae | Level
	4

	Whiwhinga | Credit
	10

	Whāinga | Purpose
	This skill standard is for people working in or entering the concrete construction trade.

People credited with this skill standard have the skills to install reinforcing of moderate complexity for concrete structures.
This skill standard aligns with the New Zealand Certificate in Concrete Construction (Building and Infrastructure) (Level 4) [Ref: 4188] and may also contribute to other construction and infrastructure qualifications.


Hua o te ako me Paearu aromatawai | Learning outcomes and assessment criteria
	Hua o te ako | Learning outcomes 
	Paearu aromatawai | Assessment criteria

	1. Install reinforcing materials for concrete structures.
	a. Reinforcing is confirmed and prepared to meet reinforcing steel plans, specifications and associated bar tags or schedules.

	2. 
	b. Reinforcing steel is placed and secured to meet specified cover, centres, laps and acceptable industry tolerances.

	3. 
	c. Supports and spacers are positioned to maintain alignment and stability.

	4. Evaluate and confirm suitability of reinforcing work.
	a. Installed reinforcing work is checked against reinforcing steel plans and specifications.

	5. 
	b. Cast-in items and penetrations are checked and secured before concrete placement.

	6. 
	c. Any installation defects are reported and rectified in readiness for concrete placement in accordance with industry standards.


Pārongo aromatawai me te taumata paearu | Assessment information and grade criteria

Assessment specifications:
To achieve this standard, the candidate must install reinforcing of moderate complexity for concrete structures to industry standards.

Industry standards must reflect industry best practice, workplace procedures, and be within acceptable tolerances as defined in New Zealand codes, standards and regulations.

Plans and specifications can include working drawings, plan specifications, manufacturer specifications, installation instructions and demolition and project plans.

Evidence for this standard must be demonstrated: 

· to current and relevant Legislation, Standards, and Codes (including safety),

· in an environmentally sustainable manner,

· within an acceptable timeframe,

· with acceptable behaviours.

Definitions:

Acceptable behaviours refer to professional behaviours expected in a construction environment. This includes working safely with others, communicating effectively, following workplace procedures, respecting people, tools, equipment, and materials, and responding appropriately to hazards and changing work conditions.
Concrete structures refer to a range of building and civil infrastructure works, including slabs, walls, beams, columns, foundations, footpaths, retaining structures and other concrete elements.

Moderate complexity refers to reinforcing installation work that involves a broad range of reinforcing types. Work includes placing, securing, and checking reinforcing steel and materials for concrete elements such as slabs, beams, columns, or walls where there may be variable bar sizes, congested layouts, multiple layers, cast-in items, or coordination with other trades.

Ngā momo whiwhinga | Grades available
Achieved.
Ihirangi waitohu | Indicative content

Planning and site preparation

· Plans and specifications.
· Reinforcing steel plans and specifications.
· Bar tags, detail sheets and delivery documentation.
· Site layout, access and safety zones.
· Equipment, tools and materials.
· Environmental and safety considerations.
Planning and site coordination

· Plans and specifications.
· Reinforcing schedules and bar lists.
· Access, storage, and delivery zones.
Reinforcing systems and components

· Bars, mesh, fibres, ties, and supports.
· Cast-in items, sleeves, couplers, penetrations, and inserts.
· Spacers, chairs, and fixings.
Calculation and installation

· Measurement, cutting lengths, and bar counts.
· Setting out and sequencing.
· Placing, securing, and spacing reinforcing.
· Lap lengths, bends and cover.
· Integration with formwork and embedded items.
Inspection and verification

· Checks for placement, laps, and clearances.
· Cast-in items and penetrations.
· Recording and reporting of installation defects.
Industry standards.
Rauemi | Resources

Programme Guidance information available from info@cstisb.nz. 
Pārongo Whakaū Kounga | Quality assurance information
	Ngā rōpū whakatau-paerewa | Standard Setting Body
	Construction and Specialist Trades Industry Skills Board

	Whakaritenga Rārangi Paetae Aromatawai | DASS classification
	Planning and Construction > Concrete > Concrete Construction

	Ko te tohutoro ki ngā Whakaritenga i te Whakamanatanga me te Whakaōritenga | CMR
	0120


	Hātepe | Process
	Putanga | Version
	Rā whakaputa | Review Date
	Rā whakamutunga mō te aromatawai | Last date for assessment

	Rēhitatanga | Registration 
	1
	26 February 2026
	N/A

	Kōrero whakakapinga | Replacement information
	N/A

	Rā arotake | Planned review date
	31 December 2030


Please contact Construction and Specialist Trades Industry Skills Board at info@cstisb.nz to suggest changes to the content of this skill standard.
	
	SYMBOL 211 \f "Symbol" New Zealand Qualifications Authority 2026



