| Title | Climb and work on electricity network structures |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to climb and work on electricity network structures. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Core Skills |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Electricity network structures include poles, towers, and any support for electric lines above ground level.

Industry requirements include all asset owner requirements and standards; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business and quality management requirements relevant to the workplace in which assessment is carried out.

4	Recommended skills and knowledge:

Unit 10507, Use personal protective equipment in an electricity supply environment or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Climb and work on electricity network structures.

Range	evidence of three observations of different workplace activities is required; including one activity in an unfamiliar situation.

Performance criteria

1.1	Pre-climbing safety checks of an electricity network structure are completed.

Range	structure, clearances, hardware, hazard controls.

1.2	Equipment to climb an electricity network structure is selected for purpose.

1.3	Climbing equipment is inspected for compliance and any defects are reported.

1.4	Climbing equipment is erected and secured.

1.5	Structure is climbed safely, and personal safety equipment is secured to structure.

1.6	Work is completed using safe practices when handling, lowering and raising tools and equipment.

1.7	Alternative working positions are adopted as required by the work environment.

1.8	Climbing equipment is removed from structure after descent.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 June 1997 | 31 December 2016 |
| Review | 2 | 27 April 2001 | 31 December 2016 |
| Review | 3 | 22 October 2003 | 31 December 2016 |
| Rollover and Revision | 4 | 20 June 2008 | 31 December 2016 |
| Review | 5 | 20 March 2014 | 31 December 2021 |
| Review | 6 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.