| Title | Conduct an inspection of electrical lines |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to conduct an inspection of electrical lines. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

| Prerequisites | Unit 10509, Climb and work on electricity network structures; or demonstrate equivalent knowledge and skills. |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

Outcomes and performance criteria

Outcome 1

Conduct an inspection of electrical lines.

Range	inspection scope may include but is not limited to – clearances, conductor condition, ground erosion, structure hardware condition, insulator condition, structure condition, signs, condition and placement, vegetation clearance, structure foundations;

evidence of inspections at three sites is required.

Performance criteria

1.1	Access approvals are obtained.

1.2	Inspection range, method and equipment is selected and justified in terms of the site.

Range	methods include but are not limited to – ground, climbing, helicopter, trolley, mobile elevating work platform.

1.3	Inspection is conducted, and defects are recorded.

1.4	Reporting documentation is completed to company or asset owner requirements.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 June 1997 | 31 December 2016 |
| Review | 2 | 27 April 2001 | 31 December 2016 |
| Review | 3 | 22 October 2003 | 31 December 2016 |
| Review | 4 | 20 November 2009 | 31 December 2016 |
| Revision | 5 | 15 September 2011 | 31 December 2016 |
| Review | 6 | 20 March 2014 | 31 December 2021 |
| Review | 7 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.