| Title | Make and break high voltage connections up to 33kV using live line hot stick procedures |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to make and break high voltage connections up to 33kV using live line hot stick procedures. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Live Work |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Entry into live work is conditional on the trainee meeting the minimum requirements of NZECP 46:2003: New Zealand Electrical Code of Practice for High Voltage Live Line Work available at https://worksafe.govt.nz/laws-and-regulations/standards/electricity-standards-and-codes-of-practice/.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available at www.eea.co.nz.

4	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

5	It is recommended people achieve Unit 10512, Joint electricity network overhead conductors; Unit 10538, Inspect, test, and clean live line tools and equipment; Unit 10542, Demonstrate knowledge of live line theory and procedures; Unit 24746, Demonstrate knowledge of rigging electricity network structures; or demonstrate equivalent knowledge and skills, before being assessed against this unit standard.

Outcomes and performance criteria

Outcome 1

Make and break high voltage connections up to 33kV using live line hot stick procedures.

Performance criteria

1.1	Worksite is prepared, and a safe working zone is established.

Range	includes – site information, plans, procedures, approvals, tools, equipment, working platforms, communication with affected personnel.

1.2	Electrical connections are made with no load using live line hot stick procedures.

Range	includes but is not limited to – wedge type, mechanical.

1.3	Electrical connections are broken under no load using live line hot stick procedures.

Range	includes but is not limited to – mechanical, wedge type, holding and cutting away.

1.4	Connection or disconnection is tested for voltage.

1.5	Completed work is reported concisely, in the required format and within the scheduled time frame.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 June 1997 | 31 December 2022 |
| Review | 2 | 27 April 2001 | 31 December 2022 |
| Review | 3 | 22 October 2003 | 31 December 2022 |
| Review | 4 | 18 September 2009 | 31 December 2022 |
| Revision | 5 | 21 May 2010 | 31 December 2022 |
| Review | 6 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.