| Title | Demonstrate knowledge of live line theory and procedures |
| --- | --- |
| Level | 4 | Credits | 10 |

| Purpose | People credited with this unit standard are able to demonstrate knowledge of: live line theory, techniques, practices and asset owner approval; and how to take out live work permits. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Live Work |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable legislative and industry requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available at www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which may include the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	It is recommended people achieve Unit 10508, Identify electricity systems used in the electricity supply industry; Unit 10513, Conduct and inspection of electrical lines; and Unit 12300, Demonstrate knowledge of safety statutes and codes used in the electricity supply industry; or demonstrate equivalent knowledge and skills, before being assessed against this unit standard.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of live line theory, techniques, practices and asset owner approval.

Performance criteria

1.1	Live line rationale and methodology are explained.

Range	potential, induction, shunting, bonding, covering up.

1.2	Live line techniques are explained.

Range	at least one of the following – hot stick, bare hand, gloved hand, glove and barrier.

1.3	Live line codes of practice are described.

1.4	Minimum approach distances are described.

Range	live line, their measurement and application.

1.5	Asset owner approval to work on live line is described.

Range	includes but is not limited to – financial approvals, operating requests, live work permit.

Outcome 2

Demonstrate knowledge of how to take out live work permits.

Performance criteria

2.1	Auto reclosers are described in terms of function and operating methods.

2.2	Procedure to gain asset owner approval to work on live line is described.

2.3	The process for taking out a live work permit for a nominated circuit is described.

Range	includes but is not limited to – requesting, receiving, returning.

| Planned review date | 31 December 2025 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 June 1997 | 31 December 2022 |
| Review | 2 | 27 April 2001 | 31 December 2022 |
| Revision | 3 | 12 June 2001 | 31 December 2022 |
| Review | 4 | 22 October 2003 | 31 December 2022 |
| Review | 5 | 18 September 2009 | 31 December 2022 |
| Revision | 6 | 21 May 2010 | 31 December 2022 |
| Review | 7 | 27 February 2020 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis – Infrastructure Industry Training Organisation qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.