| Title | Install electrical lines and cables in an electricity supply environment |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 6 |

| Purpose | People credited with this unit standard are able to install electrical lines and cables in an electricity supply environment. |
| --- | --- |

| Classification | Electricity Supply > Electricity Supply - Distribution Networks |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable industry and legislative requirements.

2	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of the Health and Safety at Work Act 2015; Electricity Act 1992; Electricity (Safety) Regulations 2010; and any subsequent amendments and replacements; Electricity supply industry codes of practice and documented enterprise procedures, including Safety Manual – Electricity Industry (SM-EI) (2015) Wellington: Electricity Engineers’ Association available from www.eea.co.nz.

3	Definitions

Asset owner refers to a participant who owns or operates assets used for generating or conveying electricity.

Industry requirements include all asset owner requirements; manufacturers’ specifications; and enterprise requirements which cover the documented workplace policies, procedures, specifications, business, and quality management requirements relevant to the workplace in which assessment is carried out.

4	Recommended skills and knowledge:

Unit 10507, Use personal protective equipment in an electricity supply environment; Unit 10508, Identify electricity systems used in the electricity supply industry;

Unit 12300, Demonstrate knowledge of safety statutes and codes used in the electricity supply industry; and

Unit 18038, Describe health and safety duties on electricity supply sites or demonstrate equivalent knowledge and skills.

Outcomes and performance criteria

Outcome 1

Install electrical lines and cables in an electricity supply environment.

Range	evidence is required for three different installations.

Performance criteria

  - Installation method is selected, and a safe working zone is established around the worksite.

1.2	Electrical lines and cables are installed in accordance with industry requirements and protected against mechanical damage.

1.3	Completed work is reported concisely, in the required format, and within the scheduled time-frame.

| Planned review date | 31 December 2024 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 August 1997 | 31 December 2016 |
| Review | 2 | 27 April 2001 | 31 December 2016 |
| Revision | 3 | 10 September 2004 | 31 December 2016 |
| Review | 4 | 20 November 2009 | 31 December 2016 |
| Review | 5 | 20 March 2014 | 31 December 2021 |
| Review | 6 | 28 November 2019 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0120 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Connexis - Infrastructure Industry Training Organisation at qualifications@connexis.org.nz if you wish to suggest changes to the content of this unit standard.