| Title | Install and test transducers |  |  |
| --- | --- | --- | --- |
| Level | 4 | Credits | 2 |

| Purpose | People credited with this unit standard are able to: – install transducers; and – test transducers. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment on-job.

2	Definitions

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

RTD – resistance temperature detector.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

3	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Install transducers.

Range	any three of – pressure, temperature, level, proximity, motion, flow.

Performance criteria

1.1	Mount transducers correctly in terms of orientation and spacing for the application required.

1.2	Connect transducers and ancillary equipment.

Range	polarity, type of cable, earthing, electrical isolation.

may include but is not limited to – pipework and tubing.

Outcome 2

Test transducers.

Performance criteria

2.1	Select transducer test equipment in accordance with the type of transducer.

Range	transducers – thermocouple, RTD, pressure transmitter, proximity detector, level sensor;

test equipment may include – multimeter, oscilloscope, manufacturers instruction, thermocouple simulator, RTD simulator, pressure calibrator.

2.2	Test transducer operation.

Range	at least three of – thermocouple, RTD, pressure transmitter, proximity detector, level sensor, flow transmitter.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 30 April 1997 | 31 December 2013 |
| Revision | 2 | 3 April 2001 | 31 December 2013 |
| Review | 3 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 4 | 15 March 2012 | 31 December 2021 |
| Revision | 5 | 15 January 2014 | 31 December 2021 |
| Review | 6 | 21 July 2016 | 31 December 2027 |
| Revision | 7 | 16 March 2017 | 31 December 2027 |
| Review | 8 | 24 March 2022 | 31 December 2027 |
| Rollover and Revision | 9 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.