| Title | Demonstrate knowledge of earthing |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 2 |

| Purpose | This unit standard is for people working in the electrical trade, and covers the principles and regulations pertaining to the earthing of electrical installations. People credited with this unit standard are able to: – demonstrate knowledge of regulatory requirements regarding earthing; – demonstrate knowledge of electrical bonding; and – demonstrate knowledge of earthing installations. |
| --- | --- |

| Classification | Electrical Engineering > Electrical Installation and Maintenance |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard has been developed for learning and assessment off-job.

2	This unit standard and unit standards 2016, 29473, and 29477 together meet the assessment requirements of ERAC CEPC 16.

This unit standard and unit standard 2016 and 29477 together meet the assessment requirements of ERAC CEPC 17.

This unit standard and unit standard 16415 and 29480 together meet the assessment requirements of ERAC CEPC 20.

3	Definitions

a.c. – Alternating current.

d.c. – direct current.

CEPC – Critical Essential Performance Capability.

ERAC – Electrical Regulatory Authorities Council.

EWRB – Electrical Workers Registration Board.

Industry practice – those practices that competent practitioners within the industry recognise as current industry best practice.

Safe and sound practice – as it relates to the installation of electrical equipment is defined in AS/NZS 3000:2007, Electrical Installations (known as the Australian/New Zealand Wiring Rules).

4	Range

a	Candidates may refer to current legislation and Standards during assessment.

b	Demonstration of safe working practices and installation in accordance with safe and sound practice are essential components of assessment of this unit standard.

c	All activities and evidence presented for all outcomes and performance criteria in this unit standard must be in accordance with:

i	legislation;

ii	policies and procedures;

iii	ethical codes;

iv	Standards – may include but are not limited to those listed in Schedule 2 of the Electricity (Safety) Regulations 2010;

v	applicable site, enterprise, and industry practice; and,

vi	where appropriate, manufacturers’ instructions, specifications, and data sheets.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of regulatory requirements regarding earthing.

Performance criteria

1.1	Define earthing terms.

Range	earthed, earthed situation, earthing system, earth electrode, earth impedance, protective earthing conductor, main earthing conductor, main earthing bar.

1.2	Explain the reasons for the requirement of low resistance for an earthing system.

1.3	Describe metalwork that must be earthed.

Range	metalwork forming parts of works, electrical installations, appliances, accessories.

Outcome 2

Demonstrate knowledge of electrical bonding.

Performance criteria

2.1	Define bonding terms.

Range	electrical bonding, earth bonding, equipotential bonding.

2.2	Explain the need for bonding metalwork in terms of the elimination of the risk of electric shock, and for prevention of sparking.

2.3	Describe situations requiring bonding.

Range	bathrooms, kitchens, laundries, boiler rooms, dry-cleaning premises, service stations, engineering machine shops.

2.4	Describe bonding methods.

Outcome 3

Demonstrate knowledge of earthing installations.

Range	domestic or small commercial installation, showing earth electrode, earth and neutral bars, conductive water and gas pipes, electrical outlets, appliances.

Performance criteria

3.1	Describe essential components of an earthing system.

3.2	Draw a diagram of an earthing system showing all components, interconnections, and cable sizes.

3.3	Calculate the earth fault-loop impedance.

This unit standard is expiring.  Assessment against the standard must take place by the last date for assessment set out below.

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 29 April 1994 | 31 December 2013 |
| Review | 2 | 23 April 1996 | 31 December 2013 |
| Review | 3 | 10 February 1999 | 31 December 2013 |
| Revision | 4 | 3 April 2001 | 31 December 2013 |
| Review | 5 | 26 May 2005 | 31 December 2021 |
| Rollover and Revision | 6 | 15 March 2012 | 31 December 2021 |
| Revision | 7 | 15 January 2014 | 31 December 2021 |
| Review | 8 | 21 July 2016 | 31 December 2027 |
| Review | 9 | 25 May 2023 | 31 December 2027 |

| Consent and Moderation Requirements (CMR) reference | 0003 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.