| Title | Operate pressure gauges and monitoring equipment in a gas network |  |  |
| --- | --- | --- | --- |
| Level | 3 | Credits | 4 |

| Purpose | People credited with this unit standard are able to, in a gas network: demonstrate knowledge of procedures, documentation, and equipment for monitoring pressures; prepare for and operate pressure gauges and monitoring equipment; and complete documentation and reporting. |
| --- | --- |

| Classification | Gas Industry > Gas Network Operations |
| --- | --- |

| Available grade | Achieved |
| --- | --- |

Guidance Information

1	This unit standard is intended for, but is not limited to, workplace assessment.  The range statements relate to enterprise specific equipment, procedures, and processes.

2	Evidence presented for assessment against this unit standard must be consistent with safe working practices and be in accordance with applicable manufacturer’s specifications, company procedures and legislative requirements.  This includes the knowledge and use of suitable tools and equipment.

3	Legislation, regulations and/or industry standards relevant to this unit standard include but are not limited to the current version of:

Health and Safety at Work Act 2015;

AS/NZS 4645.1:2018 Gas distribution networks – Network management;

AS/NZS 4645.2:2018 Gas distribution networks – Steel pipe systems;

AS/NZS 4645.3:2018 Gas distribution networks – Plastic pipe systems;

AS 2885.1-2018 Pipelines – Gas and liquid petroleum Design and construction;

AS 2885.3-2012 Pipelines – Gas and liquid petroleum Operation and maintenance;

NZS 5259:2015 Gas measurement;

and any subsequent amendments and replacements.

4	References

Australian standards (AS) may be found at www.standards.org.au;

Australian/New Zealand standards (AS/NZS) may be found at www.standards.govt.nz;

New Zealand standards (NZS) may be found at www.standards.govt.nz.

5	Any new, amended or replacement Acts, regulations, standards, codes of practice, guidelines, or authority requirements or conditions affecting this unit standard will take precedence for assessment purposes, pending review of this unit standard.

6	Definition

Company procedures mean the documented methods for performing work activities, and include health and safety, operational, environmental, and quality management requirements.  They may refer to legislation, regulations, guidelines, standard operating procedures, manuals, codes of practice, or policy statements.

Outcomes and performance criteria

Outcome 1

Demonstrate knowledge of procedures, documentation, and equipment for monitoring pressures in a gas network.

Performance criteria

1.1	Documentation and company procedures for using pressure and monitoring equipment are located and interpreted in relation to specified job requirements.

1.2	Job instructions are confirmed.

Range	instructions include – site location, asset type, pressure conditions and monitoring duration.

1.3	Potential environmental and safety hazards are identified and controlled.

Range	hazards may include – gas release, hazardous areas, other utilities, excavations, pressure release, traffic and general public;

evidence of four hazards is required;

controls may include – signage, barriers, personal protective equipment, safe access and egress, temporary traffic control, intrinsically safe equipment, environmental protection;

evidence of four different controls is required.

1.4	Types and function of pressure monitoring equipment, components, and materials are identified and described.

Range	types may include – hoses, analogue gauges, digital gauges data loggers;

function may include – absolute pressure, gauge pressure, differential pressure, maximum pressure, minimum pressure, static pressure, dynamic pressure.

1.5	Potential errors associated with incorrect application and operation of equipment and procedures, and the steps to avoid them are described.

Range	errors may include – incorrect equipment pressure range, equipment out of calibration, incorrect accuracy range, adiabatic effect;

steps may include – equipment calibration, equipment selection, stabilisation, zeroing, allowable tolerances.

Outcome 2

Prepare for and operate pressure gauges and monitoring equipment in a gas network.

Performance criteria

2.1	Pressure gauges and monitoring equipment, and materials are prepared, handled and positioned.

2.2	Monitoring equipment is operated.

Outcome 3

Complete documentation and reporting.

Performance criteria

3.1	Information is communicated to internal and external parties.

Range	may include – records, special conditions, completion notice, additional work.

3.2	Records and documents are completed and processed.

| Planned review date | 31 December 2026 |
| --- | --- |

Status information and last date for assessment for superseded versions

| Process | Version | Date | Last Date for Assessment |
| --- | --- | --- | --- |
| Registration | 1 | 19 November 1997 | 31 December 2018 |
| Revision | 2 | 3 August 2000 | 31 December 2018 |
| Review | 3 | 22 October 2002 | 31 December 2018 |
| Review | 4 | 20 November 2006 | 31 December 2020 |
| Review | 5 | 17 August 2017 | 31 December 2021 |
| Revision | 6 | 30 August 2018 | 31 December 2021 |
| Review | 7 | 27 February 2020 | N/A |
| Rollover | 8 | 30 January 2025 | N/A |

| Consent and Moderation Requirements (CMR) reference | 0014 |
| --- | --- |

This CMR can be accessed at http://www.nzqa.govt.nz/framework/search/index.do.

Comments on this unit standard

Please contact Waihanga Ara Rau Construction and Infrastructure Workforce Development Council qualifications@waihangaararau.nz if you wish to suggest changes to the content of this unit standard.